## UNITCOST ITEMS (Data Entry)
Line # Usage | Category Line # Usage | Line Type | BID ITEM | BID ITEM DESCRIPTION | UNIT | QUANTITY | STANDARD UNIT COST | CUSTOM UNIT COST | TOTAL PRICE | Type of Row | 'UNITCOST ITEMS (Data Entry)'!$D$1:$J$2
2
0 | 0 | 0 | SECTION 1-10 | TEMPORARY TRAFFIC CONTROL |  |  |  |  | 0
0 | 0 | 0 | 110005 | MAINTENANCE AND PROTECTION OF TRAFFIC CONTROL | LS
0 | 0 | 0 |  | INCLUDING FLAGGING
0 | 0 | 0 | 110020 | TRAFFIC CONTROL PEACE OFFICERS | HR
0 | 0 | 0
0 | 0 | 0 | SECTION 2-01 | CLEARING, GRUBBING, AND ROADSIDE CLEANUP |  |  |  |  | 0
0 | 0 | 0 | 201005 | CLEARING & GRUBBING | SF
0 | 0 | 0 | 201010 | CLEARING & GRUBBING | LS
0 | 0 | 0 | 201020 | CLEARING | SF
0 | 0 | 0 | 201025 | CLEARING | LS
0 | 0 | 0 | 201030 | GRUBBING | SF | [6 empty] | INSTRUCTIONS: The applicant should fill in yellow cells (where applicable). The white cells are locked with formulas to calculate based on data entered in yellow cells. The white cells will populate with the APWA standard costs for these bid items. You do not need to fill out the yellow cells in the custom unit cost column unless your costs differ from those in the standard unit cost column. • Fill in the quantity for each applicable bid item. • The Standard Unit Cost will appear when you fill in a quantity (based on the APWA 2017 guide). • Override the standard unit cost, if necessary, by entering an appropriate dollar amount in the custom unit cost column. • Your costs will autopopulate on the next tab: COST ESTIMATE SUMMARY. • Save the COST ESTIMATE SUMMARY and submit with your Latecomer package to the SPUwateravailability@seattle.gov mailbox. • To ensure that there is no delay in your final cost reconciliation by SPU, your final invoices should match the bid item numbers exactly. Final costs may be different, but the bid items should be the same. If you submit final bulk item invoices, this may delay the processing of your agreement. UNIT COST ITEMS: - Quantity - Enter the number of units for each of the applicable bid items from the UNITCOST ITEMS list (enter number in yellow cell). - Unit - For bid items with no standard units specified, there will be a yellow cell to enter applicable units. - Standard Unit Cost - Each of the standard bid items has a standard unit cost that will display if a quantity of 1 or more is entered. - Customer Unit Cost - If the standard unit cost is not correct for a bid item, enter a custom unit cost. The custom unit cost will be used in place of the standard unit cost. COST ESTIMATE SUMMARY: When data entry is complete on the UNITCOST ITEMS (Data Entry) sheet, the summary of the items selected will display on the COST ESTIMATE SUMMARY sheet. - Add'l Info Provided - If additional information is provided for any of the bid items, use the yellow cells on the row in the COST ESTIMATE SUMMARY sheet and select 'yes'. Identifiying Information: Enter the latecomer agreement & project identification information at the top of the COST ESTIMATE SUMMARY sheet in the yellow cells. - Date - Enter the date for the cost estimate. - Latecomer Agreement # - Enter the agreement number for the cost estimate. - Project Name - Enter the project name for the cost estimate. - Project Contact Name/e-mail - Enter the contact name or email address for the cost estimate. - Estimate By - Enter the name for the person who prepared the cost estimate. AUTOMATED FUNCTIONS: - Print Cost Estimate - Macro button to print the range of non-blank rows for the COST ESTIMATE SUMMARY sheet. - Print Unit Cost - Macro button to print the range of non-blank rows for the UNITCOST ITEMS (Data Entry) sheet.
0 | 0 | 0 | 201035 | GRUBBING | LS
0 | 0 | 0
0 | 0 | 0 | SECTION 2-02 | REMOVE, ABANDON, OR RELOCATE STRUCTURES AND OBSTRUCTIONS |  |  |  |  | 0
0 | 0 | 0 | 202015 | REMOVE ROCK FACING | SF
0 | 0 | 0 | 202025 | REMOVE ASPHALT OVERLAY | SY
0 | 0 | 0 | 202030 | REMOVE ASPHALT PAVEMENT | SY
0 | 0 | 0 | 202035 | REMOVE CEM CONC SIDEWALK | SY
0 | 0 | 0 | 202045 | REMOVE PAVEMENT | SY
0 | 0 | 0 | 202062 | REMOVE PAVEMENT, OVER 14" IN DEPTH, INCLUDING RAILS & TIES | SY
0 | 0 | 0 | 202064 | REMOVE PAVEMENT, OVER 14" IN DEPTH, INCLUDING RAILROAD TIES | SY
0 | 0 | 0 | 202066 | REMOVE PAVEMENT, OVER 14" IN DEPTH | SY
0 | 0 | 0 | 202125 | REMOVE BEAM GUARD RAIL | LF
0 | 0 | 0 | 202130 | REMOVE CONC TRAFFIC BARRIER | LF
0 | 0 | 0 | 202135 | REMOVE CONDUIT | LF
0 | 0 | 0 | 202140 | REMOVE CULVERT | LF
0 | 0 | 0 | 202145 | REMOVE CURB | LF
0 | 0 | 0 | 202155 | REMOVE CURB & GUTTER | LF
0 | 0 | 0 | 202165 | REMOVE FENCE, WOOD | LF
0 | 0 | 0 | 202170 | REMOVE FENCE, CHAIN LINK | LF
0 | 0 | 0 | 202180 | REMOVE PAVEMENT MARKING | LF
0 | 0 | 0 | 202190 | REMOVE PIPE | LF
0 | 0 | 0 | 202200 | REMOVE PAVEMENT MARKING, THERMOPLASTIC | LF
0 | 0 | 0 | 202250 | REMOVE BOLLARD | EA
0 | 0 | 0 | 202270 | REMOVE CATCH BASIN OR SAND BOX | EA
0 | 0 | 0 | 202275 | REMOVE CONDUIT RISER | EA
0 | 0 | 0 | 202305 | REMOVE FOUNDATION, METAL POLE | EA
0 | 0 | 0 | 202325 | REMOVE GATE VALVE | EA
0 | 0 | 0 | 202330 | REMOVE HANDHOLE | EA
0 | 0 | 0 | 202335 | REMOVE HYDRANT | EA
0 | 0 | 0 | 202340 | REMOVE INLET | EA
0 | 0 | 0 | 202355 | REMOVE MAINTENANCE HOLE | EA
0 | 0 | 0 | 202365 | REMOVE PAVEMENT MARKING LEGEND/SYMBOL | EA
0 | 0 | 0 | 202395 | REMOVE POLE, WOOD | EA
0 | 0 | 0 | 202400 | REMOVE POST, BUS ZONE | EA
0 | 0 | 0 | 202405 | REMOVE POST, PARKING METER | EA
0 | 0 | 0 | 202410 | REMOVE POST, PEDESTRIAN PUSHBUTTON | EA
0 | 0 | 0 | 202415 | REMOVE POST, STREET NAME | EA
0 | 0 | 0 | 202420 | REMOVE POST, TRAFFIC SIGN | EA
0 | 0 | 0 | 202425 | REMOVE SHRUB | EA
0 | 0 | 0 | 202430 | REMOVE SIGN | EA
0 | 0 | 0 | 202435 | REMOVE SIGN, BUS ZONE | EA
0 | 0 | 0 | 202445 | REMOVE SIGN, OVERHEAD | EA
0 | 0 | 0 | 202450 | REMOVE SIGN, TRAFFIC | EA
0 | 0 | 0 | 202455 | REMOVE PAVEMENT MARKING LEGEND/SYMBOL, THERMOPLASTIC | EA
0 | 0 | 0 | 202480 | REMOVE TREE | EA
0 | 0 | 0 | 202500 | REMOVE VALVE BOX | EA
0 | 0 | 0 | 202505 | REMOVE VALVE CHAMBER | EA
0 | 0 | 0 | 202750 | SAWCUT ASPHALT CONCRETE, FULL DEPTH | LF
0 | 0 | 0 | 202767 | SAWCUT CEMENT CONCRETE SIDEWALK, FULL DEPTH | LF
0 | 0 | 0 | 202770 | SAWCUT RIGID PAVEMENT, FULL DEPTH | LF
0 | 0 | 0 | 202805 | ABANDON CATCH BASIN | EA
0 | 0 | 0 | 202812 | ABANDON EXISTING WATER SERVICE | EA
0 | 0 | 0 | 202815 | ABANDON INLET | EA
0 | 0 | 0 | 202820 | ABANDON MAINTENANCE HOLE | EA
0 | 0 | 0 | 202825 | ABANDON VALVE CHAMBER | EA
0 | 0 | 0 | 202850 | ABANDON AND FILL PIPE | LF
0 | 0 | 0
0 | 0 | 0 | SECTION 2-04 | EXCAVATIONS |  |  |  |  | 0
0 | 0 | 0 | 204005 | COMMON EXCAVATIO | CY
0 | 0 | 0 | 204010 | SOLID ROCK EXCAVATION | CY
0 | 0 | 0 | 204020 | STRUCTURE EXCAVATION | CY
0 | 0 | 0 | 204025 | EXTRA EXCAVATION | CY
0 | 0 | 0 | 204030 | STEPPED SLOPE CONSTRUCTION | CY
0 | 0 | 0 | 204130 | UNSUITABLE FOUNDATION EXCAVATION | CY
0 | 0 | 0
0 | 0 | 0 | SECTION 2-05 | DITCH AND CHANNEL CONSTRUCTION |  |  |  |  | 0
0 | 0 | 0 | 205010 | DITCH EXCAVATION | CY
0 | 0 | 0 | 205020 | CHANNEL EXCAVATION | CY
0 | 0 | 0 | 205030 | SAFETY SYSTEM IN DITCH AND CHANNEL EXCAVATION | LS
0 | 0 | 0
0 | 0 | 0 | SECTION 2-07 | PROTECTIVE SYSTEMS |  |  |  |  | 0
0 | 0 | 0 | 207010 | SAFETY SYSTEMS IN TRENCH EXCAVATION, MIN. BID = $0.80 PER SF | SF
0 | 0 | 0 | 207020 | SUPPORT AND SAFETY SYSTEM | SF
0 | 0 | 0 | 207030 | SAFETY SYSTEMS IN STRUCTURAL EXCAVATION | LS
0 | 0 | 0
0 | 0 | 0 | SECTION 2-10 | BACKFILLING |  |  |  |  | 0
0 | 0 | 0 | 210005 | SELECT MATERIAL | CY
0 | 0 | 0 | 210010 | CONTROLLED DENSITY FILL | CY
0 | 0 | 0 | 210015 | UNCLASSIFIED BORROW | TN
0 | 0 | 0 | 210067 | BORROW, TYPE 17 | TN
0 | 0 | 0
0 | 0 | 0 | SECTION 2-13 | ROCK FACING |  |  |  |  | 0
0 | 0 | 0 | 213005 | ROCK FACING | SF
0 | 0 | 0 | 213010 | REBUILD ROCK FACING | SF
0 | 0 | 0 | 213015 | RELOCATE ROCK FACING | SF
0 | 0 | 0
0 | 0 | 0 | SECTION 2-15 | CONSTRUCTION GEOTEXTILE |  |  |  |  | 0
0 | 0 | 0 | 215010 | CONSTRUCTION GEOTEXTILE FOR UNDERGROUND DRAINAGE | SY
0 | 0 | 0 | 215020 | CONSTRUCTION GEOTEXTILE FOR SEPARATION | SY
0 | 0 | 0 | 215030 | CONSTRUCTION GEOTEXTILE FOR SOIL STABILIZATION | SY
0 | 0 | 0 | 215040 | CONSTRUCTION GEOTEXTILE FOR PERMANENT EROSION CONTROL | SY
0 | 0 | 0
0 | 0 | 0 | SECTION 4-01 | MINERAL AGGREGATES |  |  |  |  | 0
0 | 0 | 0 | 401001 | MINERAL AGGREGATE, TYPE 1 | TN
0 | 0 | 0 | 401002 | MINERAL AGGREGATE, TYPE 2 | TN
0 | 0 | 0 | 401004 | MINERAL AGGREGATE, TYPE 4 | TN
0 | 0 | 0 | 401010 | MINERAL AGGREGATE, TYPE 10 | TN
0 | 0 | 0 | 401011 | MINERAL AGGREGATE, TYPE 11 | TN
0 | 0 | 0 | 401013 | MINERAL AGGREGATE, TYPE 13 | TN
0 | 0 | 0 | 401014 | MINERAL AGGREGATE, TYPE 14 | TN
0 | 0 | 0 | 401017 | MINERAL AGGREGATE, TYPE 17 | TN
0 | 0 | 0 | 401022 | MINERAL AGGREGATE, TYPE 22 | TN
0 | 0 | 0 | 401026 | MINERAL AGGREGATE, TYPE 26 | TN
0 | 0 | 0 | 401201 | MINERAL AGGREGATE, TYPE 1 | CY
0 | 0 | 0 | 401202 | MINERAL AGGREGATE, TYPE 2 | CY
0 | 0 | 0 | 401206 | MINERAL AGGREGATE, TYPE 6 | CY
0 | 0 | 0 | 401207 | MINERAL AGGREGATE, TYPE 7 | CY
0 | 0 | 0 | 401209 | MINERAL AGGREGATE, TYPE 9 | CY
0 | 0 | 0 | 401210 | MINERAL AGGREGATE, TYPE 10 | CY
0 | 0 | 0 | 401213 | MINERAL AGGREGATE, TYPE 13 | CY
0 | 0 | 0 | 401214 | MINERAL AGGREGATE, TYPE 14 | CY
0 | 0 | 0 | 401217 | MINERAL AGGREGATE, TYPE 17 | CY
0 | 0 | 0 | 401221 | MINERAL AGGREGATE, TYPE 21 | CY
0 | 0 | 0
0 | 0 | 0 | SECTION 5-04 | HOT MIX ASPHALT (HMA) PAVEMENT |  |  |  |  | 0
0 | 0 | 0 | 504020 | SURFACE PREP, PRELEVEL | TN
0 | 0 | 0 | 504025 | SURFACE PREP, PLANE BITUMINOUS PAVEMENT | SY
0 | 0 | 0 | 504040 | PAVEMENT, HMA (CL 3/8 IN) | TN
0 | 0 | 0 | 504045 | PAVEMENT, HMA (CL 1/2 IN) | TN
0 | 0 | 0 | 504050 | PAVEMENT, HMA (CL 3/4 IN) | TN
0 | 0 | 0 | 504055 | PAVEMENT, HMA (CL 1 IN) | TN
0 | 0 | 0 | 504260 | PAVEMENT PATCH, TEMPORARY | TN
0 | 0 | 0
0 | 0 | 0 | SECTION 5-05 | CEMENT CONCRETE FOR ROADWAY AND RELATED WORK |  |  |  |  | 0
0 | 0 | 0 | 505120 | ROADWAY CEM CONC, 6 IN | SY
0 | 0 | 0 | 505121 | ROADWAY CEM CONC, 7 IN | SY
0 | 0 | 0 | 505122 | ROADWAY CEM CONC, 8 IN | SY
0 | 0 | 0 | 505123 | ROADWAY CEM CONC, 9 IN | SY
0 | 0 | 0 | 505124 | ROADWAY CEM CONC, 10 IN | SY
0 | 0 | 0 | 505125 | ROADWAY CEM CONC, 11 IN | SY
0 | 0 | 0 | 505126 | ROADWAY CEM CONC, 12 IN | SY
0 | 0 | 0 | 505130 | ROADWAY CEM CONC, HES (24 HR), 6 IN | SY
0 | 0 | 0 | 505131 | ROADWAY CEM CONC, HES (24 HR), 7 IN | SY
0 | 0 | 0 | 505132 | ROADWAY CEM CONC, HES (24 HR), 8 IN | SY
0 | 0 | 0 | 505133 | ROADWAY CEM CONC, HES (24 HR), 9 IN | SY
0 | 0 | 0 | 505134 | ROADWAY CEM CONC, HES (24 HR), 10 IN | SY
0 | 0 | 0 | 505135 | ROADWAY CEM CONC, HES (24 HR), 11 IN | SY
0 | 0 | 0 | 505136 | ROADWAY CEM CONC, HES (24 HR), 12 IN | SY
0 | 0 | 0 | 505140 | ROADWAY CEM CONC, HES (72 HR), 6 IN | SY
0 | 0 | 0 | 505141 | ROADWAY CEM CONC, HES (72 HR), 7 IN | SY
0 | 0 | 0 | 505142 | ROADWAY CEM CONC, HES (72 HR), 8 IN | SY
0 | 0 | 0 | 505143 | ROADWAY CEM CONC, HES (72 HR), 9 IN | SY
0 | 0 | 0 | 505144 | ROADWAY CEM CONC, HES (72 HR), 10 IN | SY
0 | 0 | 0 | 505145 | ROADWAY CEM CONC, HES (72 HR), 11 IN | SY
0 | 0 | 0 | 505146 | ROADWAY CEM CONC, HES (72 HR), 12 IN | SY
0 | 0 | 0 | 505220 | ROADWAY CEM CONC BASE, 6 IN | SY
0 | 0 | 0 | 505221 | ROADWAY CEM CONC BASE, 7 IN | SY
0 | 0 | 0 | 505222 | ROADWAY CEM CONC BASE, 8 IN | SY
0 | 0 | 0 | 505223 | ROADWAY CEM CONC BASE, 9 IN | SY
0 | 0 | 0 | 505224 | ROADWAY CEM CONC BASE, 10 IN | SY
0 | 0 | 0 | 505225 | ROADWAY CEM CONC BASE, 11 IN | SY
0 | 0 | 0 | 505226 | ROADWAY CEM CONC BASE, 12 IN | SY
0 | 0 | 0 | 505280 | ROADWAY CEM CONC BASE, HES (24 HR), 6 IN | SY
0 | 0 | 0 | 505281 | ROADWAY CEM CONC BASE, HES (24 HR), 7 IN | SY
0 | 0 | 0 | 505282 | ROADWAY CEM CONC BASE, HES (24 HR), 8 IN | SY
0 | 0 | 0 | 505283 | ROADWAY CEM CONC BASE, HES (24 HR), 9 IN | SY
0 | 0 | 0 | 505285 | ROADWAY CEM CONC BASE, HES (24 HR), 10 IN | SY
0 | 0 | 0 | 505287 | ROADWAY CEM CONC BASE, HES (24 HR), 11 IN | SY
0 | 0 | 0 | 505289 | ROADWAY CEM CONC BASE, HES (24 HR), 12 IN | SY
0 | 0 | 0 | 505290 | ROADWAY CEM CONC BASE, HES (72 HR), 6 IN | SY
0 | 0 | 0 | 505291 | ROADWAY CEM CONC BASE, HES (72 HR), 7 IN | SY
0 | 0 | 0 | 505292 | ROADWAY CEM CONC BASE, HES (72 HR), 8 IN | SY
0 | 0 | 0 | 505293 | ROADWAY CEM CONC BASE, HES (72 HR), 9 IN | SY
0 | 0 | 0 | 505295 | ROADWAY CEM CONC BASE, HES (72 HR), 10 IN | SY
0 | 0 | 0 | 505297 | ROADWAY CEM CONC BASE, HES (72 HR), 11 IN | SY
0 | 0 | 0 | 505299 | ROADWAY CEM CONC BASE, HES (72 HR), 12 IN | SY
0 | 0 | 0 | 505310 | DOWEL BAR | EA
0 | 0 | 0 | 505315 | TIE BAR WITH DRILL HOLE | EA
0 | 0 | 0 | 505330 | PATTERNED CEM CONC TREATMENT, ROADWAY PATTERNED | SY
0 | 0 | 0 | 505335 | PATTERNED CEM CONC TREATMENT, ROADWAY RUNNING BOND USED BRICK | SY
0 | 0 | 0
0 | 0 | 0 | SECTION 5-06 | PERVIOUS CEMENT CONCRETE SIDEWALK |  |  |  |  | 0
0 | 0 | 0 | 506005 | PERVIOUS CONCRETE SIDEWALK | SY
0 | 0 | 0
0 | 0 | 0 | SECTION 7-01 | DRAINS |  |  |  |  | 0
0 | 0 | 0 | 701106 | PIPE, SUBSURFACE DRAIN, PVC, 6 IN | LF
0 | 0 | 0 | 701108 | PIPE, SUBSURFACE DRAIN, PVC, 8 IN | LF
0 | 0 | 0 | 701110 | PIPE, SUBSURFACE DRAIN, PVC, 10 IN | LF
0 | 0 | 0 | 701450 | FILTER MATERIAL, TYPE 26 | CY
0 | 0 | 0 | 701506 | SIDEWALK DRAIN, 6 IN, PVC | LF
0 | 0 | 0 | 701604 | GRAVEL DRAIN, TYPE 4 | LF
0 | 0 | 0 | 701605 | GRAVEL DRAIN, TYPE 5 | LF
0 | 0 | 0 | 701628 | GRAVEL DRAIN, TYPE 28 | LF
0 | 0 | 0
0 | 0 | 0 | SECTION 7-02 | CULVERTS |  |  |  |  | 0
0 | 0 | 0 | 702012 | PIPE, CULVERT, CONC REINF C76 CL V, 12 IN | LF
0 | 0 | 0 | 702015 | PIPE, CULVERT, CONC REINF C76 CL III, 15 IN | LF
0 | 0 | 0 | 702018 | PIPE, CULVERT, CONC REINF C76 CL III, 18 IN | LF
0 | 0 | 0 | 702024 | PIPE, CULVERT, CONC REINF C76 CL III, 24 IN | LF
0 | 0 | 0 | 702030 | PIPE, CULVERT, CONC REINF C76 CL III, 30 IN | LF
0 | 0 | 0 | 702310 | JUNCTION BOX | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 7-05 | MAINTENANCE HOLE, CATCH BASINS AND INLETS |  |  |  |  | 0
0 | 0 | 0 | 705008 | MAINTENANCE HOLE, TYPE 204A | EA
0 | 0 | 0 | 705009 | MAINTENANCE HOLE, TYPE 204.5A | EA
0 | 0 | 0 | 705010 | MAINTENANCE HOLE, TYPE 205A | EA
0 | 0 | 0 | 705058 | MAINTENANCE HOLE, TYPE 204B | EA
0 | 0 | 0 | 705059 | MAINTENANCE HOLE, TYPE 204.5B | EA
0 | 0 | 0 | 705060 | MAINTENANCE HOLE, TYPE 205B | EA
0 | 0 | 0 | 705108 | EXTRA DEPTH, TYPE 204A MAINTENANCE HOLE | VF
0 | 0 | 0 | 705109 | EXTRA DEPTH, TYPE 204.5A MAINTENANCE HOLE | VF
0 | 0 | 0 | 705110 | EXTRA DEPTH, TYPE 205A MAINTENANCE HOLE | VF
0 | 0 | 0 | 705158 | EXTRA DEPTH, TYPE 204B MAINTENANCE HOLE | VF
0 | 0 | 0 | 705159 | EXTRA DEPTH, TYPE 204.5B MAINTENANCE HOLE | VF
0 | 0 | 0 | 705160 | EXTRA DEPTH, TYPE 205B MAINTENANCE HOLE | VF
0 | 0 | 0 | 705300 | RECHANNEL MAINTENANCE HOLE | EA
0 | 0 | 0 | 705305 | REBUILD BRICK MAINTENANCE HOLE | EA
0 | 0 | 0 | 705352 | CATCH BASIN, TYPE 240A | EA
0 | 0 | 0 | 705353 | CATCH BASIN, TYPE 240B | EA
0 | 0 | 0 | 705354 | CATCH BASIN, TYPE 241 | EA
0 | 0 | 0 | 705355 | CATCH BASIN, TYPE 242A | EA
0 | 0 | 0 | 705356 | CATCH BASIN, TYPE 242B | EA
0 | 0 | 0 | 705357 | CATCH BASIN, TYPE 240C | EA
0 | 0 | 0 | 705358 | CATCH BASIN, TYPE 240D | EA
0 | 0 | 0 | 705450 | INLET, TYPE 250A | EA
0 | 0 | 0 | 705451 | INLET, TYPE 250B | EA
0 | 0 | 0 | 705452 | INLET, TYPE 252 | EA
0 | 0 | 0 | 705510 | REBUILD CATCH BASIN | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 7-08 | MISCELLANEOUS PIPE CONNECTIONS |  |  |  |  | 0
0 | 0 | 0 | 708006 | PIPE, CB CONN, CONC C14 CL 3, 6 IN | LF
0 | 0 | 0 | 708008 | PIPE, CB CONN, CONC C14 CL 3, 8 IN | LF
0 | 0 | 0 | 708056 | PIPE, CB CONN, D.I. CL 50, 6 IN | LF
0 | 0 | 0 | 708058 | PIPE, CB CONN, D.I. CL 50, 8 IN | LF
0 | 0 | 0 | 708062 | PIPE, CB CONN, D.I. CL 50, 12 IN | LF
0 | 0 | 0 | 708106 | PIPE, CB CONN, PVC, 6 IN | LF
0 | 0 | 0 | 708108 | PIPE, CB CONN, PVC, 8 IN | LF
0 | 0 | 0 | 708206 | PIPE, INLET CONN, CONC C14 CL 3, 6 IN | LF
0 | 0 | 0 | 708208 | PIPE, INLET CONN, CONC C14 CL 3, 8 IN | LF
0 | 0 | 0 | 708256 | PIPE, INLET CONN, D.I. CL 50, 6 IN | LF
0 | 0 | 0 | 708258 | PIPE, INLET CONN, D.I. CL 50, 8 IN | LF
0 | 0 | 0 | 708406 | DROP CONNECTION, INSIDE, 6 IN | VF
0 | 0 | 0 | 708408 | DROP CONNECTION, INSIDE, 8 IN | VF
0 | 0 | 0 | 708412 | DROP CONNECTION, INSIDE, 12 IN | VF
0 | 0 | 0
0 | 0 | 0 | SECTION 7-11 | PIPE INSTALLATION FOR WATER MAINS |  |  |  |  | 0
0 | 0 | 0 | 711004 | PIPE, WM, D.I. CL 52, 4 IN, INCL. FITTINGS | LF
0 | 0 | 0 | 711006 | PIPE, WM, D.I. CL 52, 6 IN, INCL. FITTINGS | LF
0 | 0 | 0 | 711008 | PIPE, WM, D.I. CL 52, 8 IN, INCL. FITTINGS | LF
0 | 0 | 0 | 711010 | PIPE, WM, D.I. CL 52, 10 IN, INCL. FITTINGS | LF
0 | 0 | 0 | 711012 | PIPE, WM, D.I. CL 52, 12 IN, INCL. FITTINGS | LF
0 | 0 | 0 | 711106 | PIPE, WM, D.I. CL 52, 6 IN, RJ, INCL. FITTINGS | LF
0 | 0 | 0 | 711108 | PIPE, WM, D.I. CL 52, 8 IN, RJ, INCL. FITTINGS | LF
0 | 0 | 0 | 711112 | PIPE, WM, D.I. CL 52, 12 IN, RJ, INCL. FITTINGS | LF
0 | 0 | 0 | 711116 | PIPE, WM, D.I. CL 52, 16 IN, RJ, INCL. FITTINGS | LF
0 | 0 | 0 | 711206 | BEDDING, WATER MAIN, CL B, 6 IN PIPE | LF
0 | 0 | 0 | 711208 | BEDDING, WATER MAIN, CL B, 8 IN PIPE | LF
0 | 0 | 0 | 711210 | BEDDING, WATER MAIN, CL B, 10 IN PIPE | LF
0 | 0 | 0 | 711212 | BEDDING, WATER MAIN, CL B, 12 IN PIPE | LF
0 | 0 | 0 | 711400 | BLOCKING, CEMENT CONCRETE | CY
0 | 0 | 0 | 711402 | BLOWOFF ASSEMBLY, 2 IN | EA
0 | 0 | 0 | 711500 | STATION, ELECTROLYSIS TEST | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 7-12 | VALVES FOR WATER MAINS |  |  |  |  | 0
0 | 0 | 0 | 712004 | VALVE, GATE, 4 IN | EA
0 | 0 | 0 | 712006 | VALVE, GATE, 6 IN | EA
0 | 0 | 0 | 712008 | VALVE, GATE, 8 IN | EA
0 | 0 | 0 | 712010 | VALVE, GATE, 10 IN | EA
0 | 0 | 0 | 712012 | VALVE, GATE, 12 IN | EA
0 | 0 | 0 | 712106 | VALVE, BUTTERFLY, 6 IN | EA
0 | 0 | 0 | 712108 | VALVE, BUTTERFLY, 8 IN | EA
0 | 0 | 0 | 712110 | VALVE, BUTTERFLY, 10 IN | EA
0 | 0 | 0 | 712112 | VALVE, BUTTERFLY, 12 IN | EA
0 | 0 | 0 | 712500 | VALVE BOX, CAST IRON | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 7-14 | HYDRANTS |  |  |  |  | 0
0 | 0 | 0 | 714006 | HYDRANT, 6 IN CONN, INSTALL ONLY | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 7-17 | STORM DRAINS AND SANITARY SEWERS |  |  |  |  | 0
0 | 0 | 0 | 717006 | BEDDING, CL B, 6 IN PIPE | LF
0 | 0 | 0 | 717008 | BEDDING, CL B, 8 IN PIPE | LF
0 | 0 | 0 | 717010 | BEDDING, CL B, 10 IN PIPE | LF
0 | 0 | 0 | 717012 | BEDDING, CL B, 12 IN PIPE | LF
0 | 0 | 0 | 717015 | BEDDING, CL B, 15 IN PIPE | LF
0 | 0 | 0 | 717018 | BEDDING, CL B, 18 IN PIPE | LF
0 | 0 | 0 | 717024 | BEDDING, CL B, 24 IN PIPE | LF
0 | 0 | 0 | 717208 | PIPE, PS, CONC C14 CL 3, 8 IN | LF
0 | 0 | 0 | 717210 | PIPE, PS, CONC C14 CL 3, 10 IN | LF
0 | 0 | 0 | 717213 | PIPE, PS, CONC REINF C76 CL IV, 12 IN | LF
0 | 0 | 0 | 717216 | PIPE, PS, CONC REINF C76 CL IV, 15 IN | LF
0 | 0 | 0 | 717218 | PIPE, PS, CONC REINF C76 CL III, 18 IN | LF
0 | 0 | 0 | 717221 | PIPE, PS, CONC REINF C76 CL III, 21 IN | LF
0 | 0 | 0 | 717224 | PIPE, PS, CONC REINF C76 CL III, 24 IN | LF
0 | 0 | 0 | 717308 | PIPE, PS, D.I., CL 50, 8 IN | LF
0 | 0 | 0 | 717310 | PIPE, PS, D.I., CL 50, 10 IN | LF
0 | 0 | 0 | 717312 | PIPE, PS, D.I., CL 50, 12 IN | LF
0 | 0 | 0 | 717314 | PIPE, PS, D.I., CL 50, 14 IN | LF
0 | 0 | 0 | 717316 | PIPE, PS, D.I., CL 50, 16 IN | LF
0 | 0 | 0 | 717318 | PIPE, PS, D.I., CL 50, 18 IN | LF
0 | 0 | 0 | 717324 | PIPE, PS, D.I., CL 50, 24 IN | LF
0 | 0 | 0 | 717358 | PIPE, PS, D.I., CL 52, 8 IN | LF
0 | 0 | 0 | 717360 | PIPE, PS, D.I., CL 52, 10 IN | LF
0 | 0 | 0 | 717362 | PIPE, PS, D.I., CL 52, 12 IN | LF
0 | 0 | 0 | 717368 | PIPE, PS, VCP, EXTRA STRENGTH, 8 IN | LF
0 | 0 | 0 | 717370 | PIPE, PS, VCP, EXTRA STRENGTH, 10 IN | LF
0 | 0 | 0 | 717372 | PIPE, PS, VCP, EXTRA STRENGTH, 12 IN | LF
0 | 0 | 0 | 717374 | PIPE, PS, VCP, EXTRA STRENGTH, 14 IN | LF
0 | 0 | 0 | 717376 | PIPE, PS, VCP, EXTRA STRENGTH, 16 IN | LF
0 | 0 | 0 | 717378 | PIPE, PS, VCP, EXTRA STRENGTH, 18 IN | LF
0 | 0 | 0 | 717384 | PIPE, PS, VCP, EXTRA STRENGTH, 24 IN | LF
0 | 0 | 0 | 717413 | PIPE, PSD, CONC REINF C76 CL IV, 12 IN | LF
0 | 0 | 0 | 717416 | PIPE, PSD, CONC REINF C76 CL IV, 15 IN | LF
0 | 0 | 0 | 717418 | PIPE, PSD, CONC REINF C76 CL III, 18 IN | LF
0 | 0 | 0 | 717421 | PIPE, PSD, CONC REINF C76 CL III, 21 IN | LF
0 | 0 | 0 | 717424 | PIPE, PSD, CONC REINF C76 CL III, 24 IN | LF
0 | 0 | 0 | 717608 | PIPE, PSD, D.I. CL 50, 8 IN | LF
0 | 0 | 0 | 717612 | PIPE, PSD, D.I., CL 50, 12 IN | LF
0 | 0 | 0 | 717614 | PIPE, PSD, D.I., CL 50, 14 IN | LF
0 | 0 | 0 | 717616 | PIPE, PSD, D.I., CL 50, 16 IN | LF
0 | 0 | 0 | 717618 | PIPE, PSD, D.I., CL 50, 18 IN | LF
0 | 0 | 0 | 717620 | PIPE, PSD, D.I., CL 50, 20 IN | LF
0 | 0 | 0 | 717624 | PIPE, PSD, D.I., CL 50, 24 IN | LF
0 | 0 | 0 | 717656 | PIPE, PSD, D.I., CL 52, 6 IN | LF
0 | 0 | 0 | 717658 | PIPE, PSD, D.I., CL 52, 8 IN | LF
0 | 0 | 0 | 717662 | PIPE, PSD, D.I., CL 52, 12 IN | LF
0 | 0 | 0 | 717708 | PIPE, PSS, CONC C14 CL 3, 8 IN | LF
0 | 0 | 0 | 717710 | PIPE, PSS, CONC C14 CL 3, 10 IN | LF
0 | 0 | 0 | 717712 | PIPE, PSS, CONC REINF C76 CL IV, 12 IN | LF
0 | 0 | 0 | 717716 | PIPE, PSS, CONC REINF C76 CL IV, 15 IN | LF
0 | 0 | 0 | 717728 | PIPE, PSS, VCP, EXTRA STRENGTH, 8 IN | LF
0 | 0 | 0 | 717730 | PIPE, PSS, VCP, EXTRA STRENGTH, 10 IN | LF
0 | 0 | 0 | 717732 | PIPE, PSS, VCP, EXTRA STRENGTH, 12 IN | LF
0 | 0 | 0 | 717735 | PIPE, PSS, VCP, EXTRA STRENGTH, 15 IN | LF
0 | 0 | 0 | 717738 | PIPE, PSS, VCP, EXTRA STRENGTH, 18 IN | LF
0 | 0 | 0 | 717744 | PIPE, PSS, VCP, EXTRA STRENGTH, 24 IN | LF
0 | 0 | 0 | 717748 | PIPE, PSS, D.I., CL 50, 8 IN | LF
0 | 0 | 0 | 717750 | PIPE, PSS, D.I., CL 50, 10 IN | LF
0 | 0 | 0 | 717752 | PIPE, PSS, D.I., CL 50, 12 IN | LF
0 | 0 | 0 | 717778 | PIPE, PSS, D.I., CL 52, 8 IN | LF
0 | 0 | 0 | 717780 | PIPE, PSS, D.I., CL 52, 10 IN | LF
0 | 0 | 0 | 717782 | PIPE, PSS, D.I., CL 52, 12 IN | LF
0 | 0 | 0 | 717784 | PIPE, PSS, D.I., CL 52, 14 IN | LF
0 | 0 | 0 | 717786 | PIPE, PSS, D.I., CL 52, 16 IN | LF
0 | 0 | 0 | 717788 | PIPE, PSS, D.I., CL 52, 18 IN | LF
0 | 0 | 0 | 717790 | PIPE, PS or PSS, PVC, D3034 SDR 35, 8 IN | LF
0 | 0 | 0 | 717792 | PIPE, PS or PSS, PVC, D3034 SDR 35, 12 IN | LF
0 | 0 | 0 | 717795 | PIPE, PS or PSS, PVC, D3034 SDR 35, 15 IN | LF
0 | 0 | 0 | 717826 | TEE, VCP, 6 IN | EA
0 | 0 | 0 | 717828 | TEE, VCP, 8 IN | EA
0 | 0 | 0 | 717830 | TEE, VCP, 10 IN | EA
0 | 0 | 0 | 717846 | TEE, D.I., 6 IN | EA
0 | 0 | 0 | 717848 | TEE, D.I., 8 IN | EA
0 | 0 | 0 | 717850 | TEE, D.I., 10 IN | EA
0 | 0 | 0 | 717852 | TEE, D.I., 12 IN | EA
0 | 0 | 0 | 717866 | TEE, PVC, 6 IN | EA
0 | 0 | 0 | 717868 | TEE, PVC, 8 IN | EA
0 | 0 | 0 | 717870 | TEE, PVC, 10 IN | EA
0 | 0 | 0 | 717892 | TEE, 12 IN, CUT-IN EXISTING CONC PIPE | EA
0 | 0 | 0 | 717896 | TEE, 16 IN, CUT-IN EXISTING CONC PIPE | EA
0 | 0 | 0 | 717898 | TEE, 18 IN, CUT-IN EXISTING CONC PIPE | EA
0 | 0 | 0 | 717899 | TEE, 24 IN, CUT-IN EXISTING CONC PIPE | EA
0 | 0 | 0 | 717902 | DAM, CLAY TRENCH | EA
0 | 0 | 0 | 717985 | TEMPORARY SEWER BYPASS | LS
0 | 0 | 0 | 717990 | TELEVISION INSPECTION | LF
0 | 0 | 0
0 | 0 | 0 | SECTION 7-19 | SEWER CLEAN OUT |  |  |  |  | 0
0 | 0 | 0 | 719006 | SEWER CLEANOUT, 6 IN | EA
0 | 0 | 0 | 719008 | SEWER CLEANOUT, 8 IN | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 7-20 | ADJUSTMENT OF NEW AND EXISTING UTILITY STRUCTURES TO FINISH GRADE |  |  |  |  | 0
0 | 0 | 0 | 720005 | ADJUST EXISTING MH, CB, OR VC | EA
0 | 0 | 0 | 720010 | ADJUST EXISTING INLET | EA
0 | 0 | 0 | 720015 | ADJUST EXISTING MON FRAME & COVER | EA
0 | 0 | 0 | 720020 | ADJUST EXISTING VALVE BOX | EA
0 | 0 | 0 | 720025 | ADJUST EXISTING MH, CB, OR VC W/RING EXT | EA
0 | 0 | 0 | 720030 | ADJUST EXISTING INLET W/RING EXT | EA
0 | 0 | 0 | 720045 | ADJUST EXISTING HANDHOLE | EA
0 | 0 | 0 | 720047 | ADJUST EXISTING VALVE BOX W/RING EXT | EA
0 | 0 | 0 | 720230 | UTILITY CASTING, TYPE 230 | EA
0 | 0 | 0 | 720231 | UTILITY CASTING, TYPE 231 (RING EXTENSION) | EA
0 | 0 | 0 | 720235 | UTILITY CASTING, TYPE 230L | EA
0 | 0 | 0 | 720265 | UTILITY CASTING, TYPE 265, VANED GRATE | EA
0 | 0 | 0 | 720300 | UTILITY CASTING, TYPE 361 | EA
0 | 0 | 0 | 720310 | INSTALL CASTING, UTILITY FURNISHED | EA
0 | 0 | 0 | 720320 | INSTALL GRATE/COVER, OWNER FURNISHED | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 8-02 | LANDSCAPE CONSTRUCTION |  |  |  |  | 0
0 | 0 | 0 | 802214 | PLANTING SOIL | CY
0 | 0 | 0 | 802220 | MULCH, BARK | CY
0 | 0 | 0 | 802230 | MULCH, DECOMPOSED ORGANIC | CY
0 | 0 | 0 | 802600 | SODDING { QTY > = 1,000 } | SF
0 | 0 | 0 |  | { QTY < 1,000 }
0 | 0 | 0 | 802610 | SEEDED LAWN INSTALLATION { QTY > = 10,000 } | SF
0 | 0 | 0 |  | { QTY < 10,000 }
0 | 0 | 0
0 | 0 | 0 | SECTION 8-04 | CEMENT CONCRETE CURB, CURB AND GUTTER |  |  |  |  | 0
0 | 0 | 0 | 804005 | CURB, CEM CONC {QTY >= 1000} | LF
0 | 0 | 0 |  | {QTY < 1000}
0 | 0 | 0 | 804010 | CURB, CEM CONC, MOUNTABLE | LF
0 | 0 | 0 | 804015 | CURB AND GUTTER, CEM CONC | LF
0 | 0 | 0
0 | 0 | 0 | SECTION 8-06 | EXTRUDED CURB |  |  |  |  | 0
0 | 0 | 0 | 806002 | EXTRUDED CURB, HMA (CL 1/2 IN) | LF
0 | 0 | 0 | 806004 | EXTRUDED CURB, HMA (CL 1 IN) | LF
0 | 0 | 0 | 806010 | EXTRUDED CURB, CEM CONC | LF
0 | 0 | 0 | 806020 | EXTRUDED CURB, CEM CONC, HES (24 HR) | LF
0 | 0 | 0
0 | 0 | 0 | SECTION 8-07 | PRECAST TRAFFIC CURB AND BLOCK TRAFFIC CURB |  |  |  |  | 0
0 | 0 | 0 | 807005 | CURB, TRAFFIC, PRECAST | LF
0 | 0 | 0 | 807010 | CURB, TRAFFIC, BLOCK | LF
0 | 0 | 0
0 | 0 | 0 | SECTION 8-08 | PLASTIC LANE MARKERS AND TRAFFIC BUTTONS |  |  |  |  | 0
0 | 0 | 0 | 808001 | LANE MARKER TYPE 1 | EA
0 | 0 | 0 | 808002 | LANE MARKER TYPE 2 | EA
0 | 0 | 0 | 808005 | PLASTIC TRAFFIC BUTTON | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 8-13 | MONUMENT CASES |  |  |  |  | 0
0 | 0 | 0 | 813020 | MONUMENT FRAME AND COVER | EA
0 | 0 | 0 | 813030 | RELOCATE OR RESET MON AND MON FRAME AND COVER | EA
0 | 0 | 0 | 813120 | RESET MONUMENT FRAME AND COVER | EA
0 | 0 | 0 | 813125 | RELOCATE MONUMENT FRAME AND COVER | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 8-14 | CEMENT CONCRETE SIDEWALK |  |  |  |  | 0
0 | 0 | 0 | 814005 | SIDEWALK, CEM CONC {QTY >= 500} | SY
0 | 0 | 0 |  | {QTY < 500}
0 | 0 | 0 | 814010 | SIDEWALK, THICKENED EDGE | LF
0 | 0 | 0 | 814020 | CURB RAMP (422A) | EA
0 | 0 | 0 | 814022 | CURB RAMP (422B) | EA
0 | 0 | 0 | 814023 | CURB RAMP (422C) | EA
0 | 0 | 0 | 814024 | CURB RAMP, NON-STANDARD | SY
0 | 0 | 0 | 814025 | DETECTABLE WARNING PLATE RETROFIT | SF
0 | 0 | 0 | 814030 | DETECTABLE WARNING PLATE | SY
0 | 0 | 0 | 814234 | EXPOSED AGGREGATE CEM CONC TREATMENT, SIDEWALK | SY
0 | 0 | 0 | 814240 | SIX INCH SIDEWALK, CEM CONC | SY
0 | 0 | 0 | 814250 | PATTERNED CEM CONC TREATMENT, SIDEWALK, (PATTERNED) | SY
0 | 0 | 0 | 814251 | PATTERNED CEM CONC TREATMENT, SIDEWALK, (RUNNING BOND USED BRICK) | SY
0 | 0 | 0
0 | 0 | 0 | SECTION 8-18 | CEMENT CONCRETE STAIRWAYS, LANDINGS AND STEPS |  |  |  |  | 0
0 | 0 | 0 | 818020 | STAIRWAY, CEM CONC, SPECIAL | SF
0 | 0 | 0 | 818030 | GUTTER, CEM CONC, TYPE 440 | LF
0 | 0 | 0 | 818040 | STAIRWAY, CEM CONC, TYPE 440 | LF
0 | 0 | 0 | 818140 | HANDRAIL, TYPE 440 | LF
0 | 0 | 0 | 818142 | HANDRAIL, TYPE 442 | LF
0 | 0 | 0 | 818143 | HANDRAIL, TYPE 443 | LF
0 | 0 | 0 | 818241 | STEPS, CEM CONC | SF
0 | 0 | 0
0 | 0 | 0 | SECTION 8-19 | CEMENT CONCRETE DRIVEWAY |  |  |  |  | 0
0 | 0 | 0 | 819006 | DRIVEWAY, CEM CONC, 6 IN | SY
0 | 0 | 0 | 819008 | DRIVEWAY, CEM CONC, 8 IN | SY
0 | 0 | 0 | 819018 | DRIVEWAY, CEM CONC, HES (24 HR), 8 IN | SY
0 | 0 | 0 | 819020 | DRIVEWAY, CEM CONC, HES (72 HR), 8 IN | SY
0 | 0 | 0
0 | 0 | 0 | SECTION 8-21 | PERMANENT SIGNING AND POSTS |  |  |  |  | 0
0 | 0 | 0 | 821006 | INSTALL SIGN, TRAFFIC, OWNER FURNISHED | EA
0 | 0 | 0 | 821011 | INSTALL SIGN, STREET DESIGNATION, OWNER FURNISHED | EA
0 | 0 | 0 | 821015 | INSTALL SIGN, STREET NAME, OWNER FURNISHED, POST MT | EA
0 | 0 | 0 | 821025 | SIGN, BUS ZONE, OWNER FURNISHED | EA
0 | 0 | 0 | 821030 | POST, TRAFFIC SIGN | EA
0 | 0 | 0 | 821035 | POST, PARKING METER | EA
0 | 0 | 0 | 821040 | POST, STREET NAME | EA
0 | 0 | 0 | 821045 | POST, BUS ZONE | EA
0 | 0 | 0 | 821050 | RELOCATE SIGN, TRAFFIC | EA
0 | 0 | 0 | 821055 | RELOCATE SIGN, STREET NAME | EA
0 | 0 | 0 | 821060 | RELOCATE SIGN, BUS ZONE | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 8-22 | PAVEMENT MARKING |  |  |  |  | 0
0 | 0 | 0 | 822004 | PAVEMENT MARKING, PAINT, 4 IN STRIPE | LF
0 | 0 | 0 | 822006 | PAVEMENT MARKING, PAINT, 6 IN STRIPE | LF
0 | 0 | 0 | 822008 | PAVEMENT MARKING, PAINT, 8 IN STRIPE | LF
0 | 0 | 0 | 822010 | PAVEMENT MARKING, PAINT, LEGEND/SYMBOL | EA
0 | 0 | 0 | 822018 | PAVEMENT MARKING, THERMO, 8 IN STRIPE | LF
0 | 0 | 0 | 822020 | PAVEMENT MARKING, THERMO, LEGEND/SYMBOL | EA
0 | 0 | 0 | 822025 | PAVEMENT MARKING, PRESSURE SENSITIVE TAPE | LF
0 | 0 | 0 | 822028 | SHARROW, INSTALL OWNER FURNISHED | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 8-31 | TRAFFIC SIGNAL SYSTEM |  |  |  |  | 0
0 | 0 | 0 | 831306 | DETECTOR LOOP, 6 FT DIA. | EA
0 | 0 | 0
0 | 0 | 0 | SECTION 8-40 | ADDITIONAL ITEMS |  |  |  |  | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
AUTOMATED FUNCTIONS
Print Unit Cost

## COST ESTIMATE SUMMARY
[9 empty] | 1 | 'COST ESTIMATE SUMMARY'!$B$1:$J$8
|  | Date: |  | Base Construction Cost |  |  | 0 |  | 2
|  | Latecomer Agreement #: |  | Sales Tax | 10.1% |  | 0 |  | 3
|  | Project Name: |  | Total Estimated Cost |  |  | 0 |  | 4
|  | Project Contact Name/e-mail: | [6 empty] | 5
|  | Estimate By: | [6 empty] | 6
[6 empty] | * If other unit cost applies |  |  | 7
| Bid Item | Item | Unit | Quantity | Standard Unit Cost | * Custom Unit Cost | Total Cost | Add'l Info Provided | 8
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393
394
395
396
397
398
399
400
401
402
403
404
405
406
407
408
409
410
411
412
413
414
415
416
417
418
419
420
421
422
423
424
425
426
427
428
429
430
431
432
433
434
435
436
437
438
439
440
441
442
443
444
445
446
447
448
449
450
451
452
453
454
455
456
457
458
459
460
461
462
463
464
465
466
467
468
469
470
471
472
AUTOMATED FUNCTIONS
Print Cost Estimate

## Assesment Reimbursement Area (hidden)
ASSESSMENT REIMBURSEMENT AREA PARCEL ROLL | [9 empty] | EXHIBIT B | 0 | 'Assesment Reimbursement Area'!$A$1:$K$35
Ref No. | Exempt from Collection | Half-share | Tax/Parcel Number | Owner Name & Parcel Address | Legal Description (or Abbreviated Legal Description) | Parcel Area (sf) | Effective Parcel Area w/ half-shares | SqRt of Effective Parcel Area | Pro Rata Share (%) | Pro Rata of Construction Amount |  | INSTRUCTIONS: Starting with the project parcel(s), fill in the yellow cells (where applicable). The white cells are locked with formulas to calculate the ProRata amount based on data entered in yellow cells. Refer to the example below for an overview of how your data and calculations will appear once you have completed the spreadsheet. Submit this form with your Latecomer package to the SPU Water Availability mailbox. PARCEL ROLL: - Exempt from Collection - Select yes to assign or leave blank. Assign exempt to parcel(s) that are a part of the project installing the improvement. All parcels that are a part of the project installing the improvement must be listed and selected as exempt. - Half-share - Select yes to assign or leave blank. Assign a half-share to parcel(s) with access to connect to existing utility infrastructure. - Tax/Parcel Number - Enter the Tax/Parcel number for the benefitting parcels. For more information on identifying Benefitting Parcels click on the link button. - Owner Name & Parcel Address - Enter owner name & parcel address. If any parcel has more than one taxpayer, e.g. condominiums, or the taxpayer's mailing address is different than the parcel address all owners must be identified on the Additional Parcel Owner Info Sheet. - Legal Description (or Abbreviated Legal Description) - Refer to King County Parcel Viewer's website. - Parcel Area (sf) - Refer to King County Parcel Viewer's website. COSTS: - Construction Permit Fees - Total costs for construction permit fees. - Engineering/Design Cost - Total costs for engineering and design. - Construction Cost - Total costs for construction. - Inspection Cost - Total costs for inspection fees.
1 | [6 empty] | 0 | 0 | 0 | 0
2 | [6 empty] | 0 | 0 | 0 | 0
3 | [6 empty] | 0 | 0 | 0 | 0
4 | [6 empty] | 0 | 0 | 0 | 0
5 | [6 empty] | 0 | 0 | 0 | 0
6 | [6 empty] | 0 | 0 | 0 | 0
7 | [6 empty] | 0 | 0 | 0 | 0
8 | [6 empty] | 0 | 0 | 0 | 0
9 | [6 empty] | 0 | 0 | 0 | 0
10 | [6 empty] | 0 | 0 | 0 | 0
11 | [6 empty] | 0 | 0 | 0 | 0
12 | [6 empty] | 0 | 0 | 0 | 0
13 | [6 empty] | 0 | 0 | 0 | 0
14 | [6 empty] | 0 | 0 | 0 | 0
15 | [6 empty] | 0 | 0 | 0 | 0
16 | [6 empty] | 0 | 0 | 0 | 0
17 | [6 empty] | 0 | 0 | 0 | 0
18 | [6 empty] | 0 | 0 | 0 | 0
19 | [6 empty] | 0 | 0 | 0 | 0
20 | [6 empty] | 0 | 0 | 0 | 0
0
[6 empty] | Total Area (sf) | Total Effective Area (sf) | Total SqRt Area |  | Total Benefit Cost
[6 empty] | 0 | 0 | 0 |  | 0
20
Cost of Construction |  |  |  |  | * Latecomer Fees = Application fee ($1,090) + recording fee ($80 x number of benefitting parcels)
Construction Permit Fees | [10 empty] | NOTE: Only rows beyond 20 will be deleted (if present). - The default 20 rows will remain static. - Rows beyond 20 will be deleted regardless of whether data is present if the macro button is used.
Engineering/Design Cost
Construction Cost
Inspection Cost
Latecomer Fees * |  |  |  | 0
Total |  |  |  | 0
EXAMPLE ASSESSMENT REIMBURSEMENT AREA PARCEL ROLL
EXHIBIT B
Ref No. | Exempt from Collection (Yes/No) | Half-share (Yes/No) | Tax/Parcel Number | Owner Name & Parcel Address | Legal Description (or Abbreviated Legal Description) | Parcel Area (sf) | Effective Parcel Area w/ half-shares | SqRt of Effective Parcel Area | Pro Rata Share (%) | Pro Rata of Construction Amount
1 | yes |  | 123… | Mr. Developer | Parcel xyz… | 5000 | 5000 | 70.7107 | 10.6222 | 0
2 |  |  | 234… | John Smith | Parcel yza… | 5000 | 5000 | 70.7107 | 10.6222 | 11482.6373
3 |  | yes | 345… | Joe Smith | Parcel zab… | 5000 | 2500 | 50 | 7.5111 | 8119.4507
4 |  |  | 456… | Jane Smith | Parcel abc… | 5000 | 5000 | 70.7107 | 10.6222 | 11482.6373
5 |  |  | 567… | John Smithee | Parcel bcd… | 5000 | 5000 | 70.7107 | 10.6222 | 11482.6373
6 |  | yes | 678… | Jane Smithee | Parcel cde… | 5000 | 2500 | 50 | 7.5111 | 8119.4507
7 |  |  | 789… | Joe Smithee | Parcel def… | 5000 | 5000 | 70.7107 | 10.6222 | 11482.6373
8 |  |  | 890… | John Smitho | Parcel efg… | 5000 | 5000 | 70.7107 | 10.6222 | 11482.6373
9 |  |  | 901… | Joe Smitho | Parcel fgh… | 5000 | 5000 | 70.7107 | 10.6222 | 11482.6373
10 |  |  | 012… | Jane Smitho | Parcel ghi… | 5000 | 5000 | 70.7107 | 10.6222 | 11482.6373
96617.3627
[6 empty] | Total Area (sf) | Total Effective Area (sf) | Total SqRt Area |  | Total Benefit Cost
[6 empty] | 50000 | 45000 | 665.6854 |  | 96617.3627
Cost of Construction |  |  |  |  | * Latecomer Fees = Application fee ($1,090) + recording fee ($80 x number of benefitting parcels)
Construction Permit Fees |  |  |  | 700
Engineering/Design Cost |  |  |  | 5000
Construction Cost |  |  |  | 100000
Inspection Cost |  |  |  | 400
Latecomer Fees * |  |  |  | 1810
Total |  |  |  | 108100
AUTOMATED FUNCTIONS
Add 5 Rows to Bottom of Table
Identify Benefitting Parcels
King County Parcel Viewer's Website
Benefitting Parcels FAQ
Delete 1 Row from Bottom of Table
Print Parcel Roll
Print Parcel Roll Page 1
Example
SPUwateravailability@seattle.gov

## Additional Parcel Owner Info (hidden)
Supplemental Property Owner information
Ref No. | Tax/Parcel Number | Multiple Taxpayers? | Owner Name | Owner Contact Address
1

## REFERENCE SHEET (hidden)
BID ITEM | BID ITEM DESCRIPTION | UNIT | UNIT COST | UNIT
110005 | MAINTENANCE AND PROTECTION OF TRAFFIC CONTROL | LS |  | CY
110020 | TRAFFIC CONTROL PEACE OFFICERS | HR | 65 | EA
201005 | CLEARING & GRUBBING | SF | 1 | HR
201010 | CLEARING & GRUBBING | LS |  | LF
201020 | CLEARING | SF | 0.5 | LS
201025 | CLEARING | LS |  | SF
201030 | GRUBBING | SF | 0.5 | SY
201035 | GRUBBING | LS |  | TN
202015 | REMOVE ROCK FACING | SF | 9 | VF
202025 | REMOVE ASPHALT OVERLAY | SY | 16
202030 | REMOVE ASPHALT PAVEMENT | SY | 20
202035 | REMOVE CEM CONC SIDEWALK | SY | 15
202045 | REMOVE PAVEMENT { QTY >= 1000 } | SY | 28
202062 | REMOVE PAVEMENT, OVER 14" IN DEPTH, INCLUDING RAILS & TIES | SY | 35
202064 | REMOVE PAVEMENT, OVER 14" IN DEPTH, INCLUDING RAILROAD TIES | SY | 35
202066 | REMOVE PAVEMENT, OVER 14" IN DEPTH | SY | 30
202125 | REMOVE BEAM GUARD RAIL | LF | 15
202130 | REMOVE CONC TRAFFIC BARRIER | LF | 15
202135 | REMOVE CONDUIT | LF | 8
202140 | REMOVE CULVERT | LF | 12
202145 | REMOVE CURB | LF | 11
202155 | REMOVE CURB & GUTTER | LF | 17
202165 | REMOVE FENCE, WOOD | LF | 10
202170 | REMOVE FENCE, CHAIN LINK | LF | 6
202180 | REMOVE PAVEMENT MARKING | LF | 1
202190 | REMOVE PIPE | LF | 17
202200 | REMOVE PAVEMENT MARKING, THERMOPLASTIC | LF | 1.5
202250 | REMOVE BOLLARD | EA | 100
202270 | REMOVE CATCH BASIN OR SAND BOX | EA | 250
202275 | REMOVE CONDUIT RISER | EA | 150
202305 | REMOVE FOUNDATION, METAL POLE | EA | 1000
202325 | REMOVE GATE VALVE | EA | 400
202330 | REMOVE HANDHOLE | EA | 110
202335 | REMOVE HYDRANT | EA | 800
202340 | REMOVE INLET | EA | 240
202355 | REMOVE MAINTENANCE HOLE | EA | 600
202365 | REMOVE PAVEMENT MARKING LEGEND/SYMBOL | EA | 50
202395 | REMOVE POLE, WOOD | EA | 450
202400 | REMOVE POST, BUS ZONE | EA | 100
202405 | REMOVE POST, PARKING METER | EA | 100
202410 | REMOVE POST, PEDESTRIAN PUSHBUTTON | EA | 150
202415 | REMOVE POST, STREET NAME | EA | 100
202420 | REMOVE POST, TRAFFIC SIGN | EA | 100
202425 | REMOVE SHRUB | EA | 100
202430 | REMOVE SIGN | EA | 100
202435 | REMOVE SIGN, BUS ZONE | EA | 100
202445 | REMOVE SIGN, OVERHEAD | EA | 200
202450 | REMOVE SIGN, TRAFFIC | EA | 100
202455 | REMOVE PAVEMENT MARKING LEGEND/SYMBOL, THERMOPLASTIC | EA | 50
202480 | REMOVE TREE | EA | 500
202500 | REMOVE VALVE BOX | EA | 150
202505 | REMOVE VALVE CHAMBER | EA | 800
202750 | SAWCUT ASPHALT CONCRETE, FULL DEPTH | LF | 2.5
202767 | SAWCUT CEMENT CONCRETE SIDEWALK, FULL DEPTH | LF | 5
202770 | SAWCUT RIGID PAVEMENT, FULL DEPTH | LF | 5
202805 | ABANDON CATCH BASIN | EA | 300
202812 | ABANDON EXISTING WATER SERVICE | EA | 500
202815 | ABANDON INLET | EA | 200
202820 | ABANDON MAINTENANCE HOLE | EA | 600
202825 | ABANDON VALVE CHAMBER | EA | 400
202850 | ABANDON AND FILL PIPE | LF | 22
204005 | COMMON EXCAVATION | CY | 28
204010 | SOLID ROCK EXCAVATION | CY | 85
204020 | STRUCTURE EXCAVATION | CY | 42
204025 | EXTRA EXCAVATION | CY | 30
204030 | STEPPED SLOPE CONSTRUCTION | CY | 10
204130 | UNSUITABLE FOUNDATION EXCAVATION | CY | 35
205010 | DITCH EXCAVATION | CY | 35
205020 | CHANNEL EXCAVATION | CY | 35
205030 | SAFETY SYSTEM IN DITCH AND CHANNEL EXCAVATION | LS
207010 | SAFETY SYSTEMS IN TRENCH EXCAVATION, MIN. BID = $0.80 PER SF | SF | 1
207020 | SUPPORT AND SAFETY SYSTEM | SF | 15
207030 | SAFETY SYSTEMS IN STRUCTURAL EXCAVATION | LS
210005 | SELECT MATERIAL | CY | 50
210010 | CONTROLLED DENSITY FILL | CY | 125
210015 | UNCLASSIFIED BORROW | TN | 28
210067 | BORROW, TYPE 17 | TN | 35
213005 | ROCK FACING | SF | 15
213010 | REBUILD ROCK FACING | SF | 20
213015 | RELOCATE ROCK FACING | SF | 20
215010 | CONSTRUCTION GEOTEXTILE FOR UNDERGROUND DRAINAGE | SY | 2
215020 | CONSTRUCTION GEOTEXTILE FOR SEPARATION | SY | 2
215030 | CONSTRUCTION GEOTEXTILE FOR SOIL STABILIZATION | SY | 1.5
215040 | CONSTRUCTION GEOTEXTILE FOR PERMANENT EROSION CONTROL | SY | 2
401001 | MINERAL AGGREGATE, TYPE 1 | TN | 35
401002 | MINERAL AGGREGATE, TYPE 2 | TN | 26
401004 | MINERAL AGGREGATE, TYPE 4 | TN | 34
401010 | MINERAL AGGREGATE, TYPE 10 | TN | 44
401011 | MINERAL AGGREGATE, TYPE 11 | TN | 34
401013 | MINERAL AGGREGATE, TYPE 13 | TN | 38
401014 | MINERAL AGGREGATE, TYPE 14 | TN | 30
401017 | MINERAL AGGREGATE, TYPE 17 | TN | 24
401022 | MINERAL AGGREGATE, TYPE 22 | TN | 36
401026 | MINERAL AGGREGATE, TYPE 26 | TN | 29
401201 | MINERAL AGGREGATE, TYPE 1 | CY | 60
401202 | MINERAL AGGREGATE, TYPE 2 | CY | 62
401206 | MINERAL AGGREGATE, TYPE 6 | CY | 45
401207 | MINERAL AGGREGATE, TYPE 7 | CY | 45
401209 | MINERAL AGGREGATE, TYPE 9 | CY | 48
401210 | MINERAL AGGREGATE, TYPE 10 | CY | 72
401213 | MINERAL AGGREGATE, TYPE 13 | CY | 66
401214 | MINERAL AGGREGATE, TYPE 14 | CY | 40
401217 | MINERAL AGGREGATE, TYPE 17 | CY | 29
401221 | MINERAL AGGREGATE, TYPE 21 | CY | 50
504020 | SURFACE PREP, PRELEVEL | TN | 100
504025 | SURFACE PREP, PLANE BITUMINOUS PAVEMENT | SY | 6
504040 | PAVEMENT, HMA (CL 3/8 IN) | TN | 200
504045 | PAVEMENT, HMA (CL 1/2 IN) | TN | 225
504050 | PAVEMENT, HMA (CL 3/4 IN) | TN | 200
504055 | PAVEMENT, HMA (CL 1 IN) | TN | 200
504260 | PAVEMENT PATCH, TEMPORARY | TN | 120
505120 | ROADWAY CEM CONC, 6 IN | SY | 80
505121 | ROADWAY CEM CONC, 7 IN | SY | 85
505122 | ROADWAY CEM CONC, 8 IN | SY | 90
505123 | ROADWAY CEM CONC, 9 IN | SY | 95
505124 | ROADWAY CEM CONC, 10 IN | SY | 100
505125 | ROADWAY CEM CONC, 11 IN | SY | 105
505126 | ROADWAY CEM CONC, 12 IN | SY | 110
505130 | ROADWAY CEM CONC, HES (24 HR), 6 IN | SY | 95
505131 | ROADWAY CEM CONC, HES (24 HR), 7 IN | SY | 100
505132 | ROADWAY CEM CONC, HES (24 HR), 8 IN | SY | 105
505133 | ROADWAY CEM CONC, HES (24 HR), 9 IN | SY | 110
505134 | ROADWAY CEM CONC, HES (24 HR), 10 IN | SY | 115
505135 | ROADWAY CEM CONC, HES (24 HR), 11 IN | SY | 120
505136 | ROADWAY CEM CONC, HES (24 HR), 12 IN | SY | 125
505140 | ROADWAY CEM CONC, HES (72 HR), 6 IN | SY | 85
505141 | ROADWAY CEM CONC, HES (72 HR), 7 IN | SY | 90
505142 | ROADWAY CEM CONC, HES (72 HR), 8 IN | SY | 95
505143 | ROADWAY CEM CONC, HES (72 HR), 9 IN | SY | 100
505144 | ROADWAY CEM CONC, HES (72 HR), 10 IN | SY | 105
505145 | ROADWAY CEM CONC, HES (72 HR), 11 IN | SY | 110
505146 | ROADWAY CEM CONC, HES (72 HR), 12 IN | SY | 115
505220 | ROADWAY CEM CONC BASE, 6 IN | SY | 75
505221 | ROADWAY CEM CONC BASE, 7 IN | SY | 80
505222 | ROADWAY CEM CONC BASE, 8 IN | SY | 85
505223 | ROADWAY CEM CONC BASE, 9 IN | SY | 90
505224 | ROADWAY CEM CONC BASE, 10 IN | SY | 90
505225 | ROADWAY CEM CONC BASE, 11 IN | SY | 95
505226 | ROADWAY CEM CONC BASE, 12 IN | SY | 100
505280 | ROADWAY CEM CONC BASE, HES (24 HR), 6 IN | SY | 80
505281 | ROADWAY CEM CONC BASE, HES (24 HR), 7 IN | SY | 90
505282 | ROADWAY CEM CONC BASE, HES (24 HR), 8 IN | SY | 95
505283 | ROADWAY CEM CONC BASE, HES (24 HR), 9 IN | SY | 100
505285 | ROADWAY CEM CONC BASE, HES (24 HR), 10 IN | SY | 105
505287 | ROADWAY CEM CONC BASE, HES (24 HR), 11 IN | SY | 110
505289 | ROADWAY CEM CONC BASE, HES (24 HR), 12 IN | SY | 115
505290 | ROADWAY CEM CONC BASE, HES (72 HR), 6 IN | SY | 75
505291 | ROADWAY CEM CONC BASE, HES (72 HR), 7 IN | SY | 80
505292 | ROADWAY CEM CONC BASE, HES (72 HR), 8 IN | SY | 85
505293 | ROADWAY CEM CONC BASE, HES (72 HR), 9 IN | SY | 90
505295 | ROADWAY CEM CONC BASE, HES (72 HR), 10 IN | SY | 95
505297 | ROADWAY CEM CONC BASE, HES (72 HR), 11 IN | SY | 100
505299 | ROADWAY CEM CONC BASE, HES (72 HR), 12 IN | SY | 105
505310 | DOWEL BAR | EA | 2
505315 | TIE BAR WITH DRILL HOLE | EA | 2
505330 | PATTERNED CEM CONC TREATMENT, ROADWAY PATTERNED | SY | 20
505335 | PATTERNED CEM CONC TREATMENT, ROADWAY RUNNING BOND USED BRICK | SY | 25
506005 | PERVIOUS CONCRETE SIDEWALK | SY | 50
701106 | PIPE, SUBSURFACE DRAIN, PVC, 6 IN | LF | 30
701108 | PIPE, SUBSURFACE DRAIN, PVC, 8 IN | LF | 32
701110 | PIPE, SUBSURFACE DRAIN, PVC, 10 IN | LF | 34
701450 | FILTER MATERIAL, TYPE 26 | CY | 50
701506 | SIDEWALK DRAIN, 6 IN, PVC | LF | 30
701604 | GRAVEL DRAIN, TYPE 4 | LF | 2
701605 | GRAVEL DRAIN, TYPE 5 | LF | 2
701628 | GRAVEL DRAIN, TYPE 28 | LF | 2
702012 | PIPE, CULVERT, CONC REINF C76 CL V, 12 IN | LF | 50
702015 | PIPE, CULVERT, CONC REINF C76 CL III, 15 IN | LF | 55
702018 | PIPE, CULVERT, CONC REINF C76 CL III, 18 IN | LF | 60
702024 | PIPE, CULVERT, CONC REINF C76 CL III, 24 IN | LF | 80
702030 | PIPE, CULVERT, CONC REINF C76 CL III, 30 IN | LF | 100
702310 | JUNCTION BOX | EA | 1200
705008 | MAINTENANCE HOLE, TYPE 204A | EA | 3200
705009 | MAINTENANCE HOLE, TYPE 204.5A | EA | 3800
705010 | MAINTENANCE HOLE, TYPE 205A | EA | 5000
705058 | MAINTENANCE HOLE, TYPE 204B | EA | 3600
705059 | MAINTENANCE HOLE, TYPE 204.5B | EA | 4100
705060 | MAINTENANCE HOLE, TYPE 205B | EA | 5000
705108 | EXTRA DEPTH, TYPE 204A MAINTENANCE HOLE | VF | 250
705109 | EXTRA DEPTH, TYPE 204.5A MAINTENANCE HOLE | VF | 270
705110 | EXTRA DEPTH, TYPE 205A MAINTENANCE HOLE | VF | 285
705158 | EXTRA DEPTH, TYPE 204B MAINTENANCE HOLE | VF | 325
705159 | EXTRA DEPTH, TYPE 204.5B MAINTENANCE HOLE | VF | 400
705160 | EXTRA DEPTH, TYPE 205B MAINTENANCE HOLE | VF | 425
705300 | RECHANNEL MAINTENANCE HOLE | EA | 750
705305 | REBUILD BRICK MAINTENANCE HOLE | EA | 1600
705352 | CATCH BASIN, TYPE 240A | EA | 2300
705353 | CATCH BASIN, TYPE 240B | EA | 2300
705354 | CATCH BASIN, TYPE 241 | EA | 1600
705355 | CATCH BASIN, TYPE 242A | EA | 2500
705356 | CATCH BASIN, TYPE 242B | EA | 2500
705357 | CATCH BASIN, TYPE 240C | EA | 2300
705358 | CATCH BASIN, TYPE 240D | EA | 2300
705450 | INLET, TYPE 250A | EA | 1300
705451 | INLET, TYPE 250B | EA | 1300
705452 | INLET, TYPE 252 | EA | 1200
705510 | REBUILD CATCH BASIN | EA | 1100
708006 | PIPE, CB CONN, CONC C14 CL 3, 6 IN | LF | 45
708008 | PIPE, CB CONN, CONC C14 CL 3, 8 IN | LF | 55
708056 | PIPE, CB CONN, D.I. CL 50, 6 IN | LF | 65
708058 | PIPE, CB CONN, D.I. CL 50, 8 IN | LF | 80
708062 | PIPE, CB CONN, D.I. CL 50, 12 IN | LF | 100
708106 | PIPE, CB CONN, PVC, 6 IN | LF | 40
708108 | PIPE, CB CONN, PVC, 8 IN | LF | 50
708206 | PIPE, INLET CONN, CONC C14 CL 3, 6 IN | LF | 45
708208 | PIPE, INLET CONN, CONC C14 CL 3, 8 IN | LF | 55
708256 | PIPE, INLET CONN, D.I. CL 50, 6 IN | LF | 65
708258 | PIPE, INLET CONN, D.I. CL 50, 8 IN | LF | 75
708406 | DROP CONNECTION, INSIDE, 6 IN | VF | 300
708408 | DROP CONNECTION, INSIDE, 8 IN | VF | 325
708412 | DROP CONNECTION, INSIDE, 12 IN | VF | 375
711004 | PIPE, WM, D.I. CL 52, 4 IN, INCL. FITTINGS | LF | 70
711006 | PIPE, WM, D.I. CL 52, 6 IN, INCL. FITTINGS | LF | 80
711008 | PIPE, WM, D.I. CL 52, 8 IN, INCL. FITTINGS | LF | 90
711010 | PIPE, WM, D.I. CL 52, 10 IN, INCL. FITTINGS | LF | 100
711012 | PIPE, WM, D.I. CL 52, 12 IN, INCL. FITTINGS | LF | 110
711106 | PIPE, WM, D.I. CL 52, 6 IN, RJ, INCL. FITTINGS | LF | 85
711108 | PIPE, WM, D.I. CL 52, 8 IN, RJ, INCL. FITTINGS | LF | 95
711112 | PIPE, WM, D.I. CL 52, 12 IN, RJ, INCL. FITTINGS | LF | 115
711116 | PIPE, WM, D.I. CL 52, 16 IN, RJ, INCL. FITTINGS | LF | 160
711206 | BEDDING, WATER MAIN, CL B, 6 IN PIPE | LF | 6
711208 | BEDDING, WATER MAIN, CL B, 8 IN PIPE | LF | 7
711210 | BEDDING, WATER MAIN, CL B, 10 IN PIPE | LF | 8
711212 | BEDDING, WATER MAIN, CL B, 12 IN PIPE | LF | 9
711400 | BLOCKING, CEMENT CONCRETE | CY | 225
711402 | BLOWOFF ASSEMBLY, 2 IN | EA | 1800
711500 | STATION, ELECTROLYSIS TEST | EA | 1800
712004 | VALVE, GATE, 4 IN | EA | 500
712006 | VALVE, GATE, 6 IN | EA | 800
712008 | VALVE, GATE, 8 IN | EA | 1100
712010 | VALVE, GATE, 10 IN | EA | 1500
712012 | VALVE, GATE, 12 IN | EA | 1900
712106 | VALVE, BUTTERFLY, 6 IN | EA | 1500
712108 | VALVE, BUTTERFLY, 8 IN | EA | 1800
712110 | VALVE, BUTTERFLY, 10 IN | EA | 3000
712112 | VALVE, BUTTERFLY, 12 IN | EA | 4000
712500 | VALVE BOX, CAST IRON | EA | 400
714006 | HYDRANT, 6 IN CONN, INSTALL ONLY | EA | 2400
717006 | BEDDING, CL B, 6 IN PIPE | LF | 8
717008 | BEDDING, CL B, 8 IN PIPE | LF | 10
717010 | BEDDING, CL B, 10 IN PIPE | LF | 12
717012 | BEDDING, CL B, 12 IN PIPE | LF | 13
717015 | BEDDING, CL B, 15 IN PIPE | LF | 14
717018 | BEDDING, CL B, 18 IN PIPE | LF | 18
717024 | BEDDING, CL B, 24 IN PIPE | LF | 18
717208 | PIPE, PS, CONC C14 CL 3, 8 IN | LF | 65
717210 | PIPE, PS, CONC C14 CL 3, 10 IN | LF | 70
717213 | PIPE, PS, CONC REINF C76 CL IV, 12 IN | LF | 75
717216 | PIPE, PS, CONC REINF C76 CL IV, 15 IN | LF | 80
717218 | PIPE, PS, CONC REINF C76 CL III, 18 IN | LF | 90
717221 | PIPE, PS, CONC REINF C76 CL III, 21 IN | LF | 110
717224 | PIPE, PS, CONC REINF C76 CL III, 24 IN | LF | 130
717308 | PIPE, PS, D.I., CL 50, 8 IN | LF | 80
717310 | PIPE, PS, D.I., CL 50, 10 IN | LF | 85
717312 | PIPE, PS, D.I., CL 50, 12 IN | LF | 90
717314 | PIPE, PS, D.I., CL 50, 14 IN | LF | 100
717316 | PIPE, PS, D.I., CL 50, 16 IN | LF | 120
717318 | PIPE, PS, D.I., CL 50, 18 IN | LF | 125
717324 | PIPE, PS, D.I., CL 50, 24 IN | LF | 150
717358 | PIPE, PS, D.I., CL 52, 8 IN | LF | 80
717360 | PIPE, PS, D.I., CL 52, 10 IN | LF | 85
717362 | PIPE, PS, D.I., CL 52, 12 IN | LF | 95
717368 | PIPE, PS, VCP, EXTRA STRENGTH, 8 IN | LF | 80
717370 | PIPE, PS, VCP, EXTRA STRENGTH, 10 IN | LF | 85
717372 | PIPE, PS, VCP, EXTRA STRENGTH, 12 IN | LF | 90
717374 | PIPE, PS, VCP, EXTRA STRENGTH, 14 IN | LF | 100
717376 | PIPE, PS, VCP, EXTRA STRENGTH, 16 IN | LF | 120
717378 | PIPE, PS, VCP, EXTRA STRENGTH, 18 IN | LF | 125
717384 | PIPE, PS, VCP, EXTRA STRENGTH, 24 IN | LF | 150
717413 | PIPE, PSD, CONC REINF C76 CL IV, 12 IN | LF | 75
717416 | PIPE, PSD, CONC REINF C76 CL IV, 15 IN | LF | 80
717418 | PIPE, PSD, CONC REINF C76 CL III, 18 IN | LF | 90
717421 | PIPE, PSD, CONC REINF C76 CL III, 21 IN | LF | 110
717424 | PIPE, PSD, CONC REINF C76 CL III, 24 IN | LF | 130
717608 | PIPE, PSD, D.I. CL 50, 8 IN | LF | 80
717612 | PIPE, PSD, D.I., CL 50, 12 IN | LF | 90
717614 | PIPE, PSD, D.I., CL 50, 14 IN | LF | 100
717616 | PIPE, PSD, D.I., CL 50, 16 IN | LF | 120
717618 | PIPE, PSD, D.I., CL 50, 18 IN | LF | 125
717620 | PIPE, PSD, D.I., CL 50, 20 IN | LF | 140
717624 | PIPE, PSD, D.I., CL 50, 24 IN | LF | 150
717656 | PIPE, PSD, D.I., CL 52, 6 IN | LF | 70
717658 | PIPE, PSD, D.I., CL 52, 8 IN | LF | 80
717662 | PIPE, PSD, D.I., CL 52, 12 IN | LF | 95
717708 | PIPE, PSS, CONC C14 CL 3, 8 IN | LF | 55
717710 | PIPE, PSS, CONC C14 CL 3, 10 IN | LF | 60
717712 | PIPE, PSS, CONC REINF C76 CL IV, 12 IN | LF | 70
717716 | PIPE, PSS, CONC REINF C76 CL IV, 15 IN | LF | 80
717728 | PIPE, PSS, VCP, EXTRA STRENGTH, 8 IN | LF | 80
717730 | PIPE, PSS, VCP, EXTRA STRENGTH, 10 IN | LF | 85
717732 | PIPE, PSS, VCP, EXTRA STRENGTH, 12 IN | LF | 90
717735 | PIPE, PSS, VCP, EXTRA STRENGTH, 15 IN | LF | 110
717738 | PIPE, PSS, VCP, EXTRA STRENGTH, 18 IN | LF | 125
717744 | PIPE, PSS, VCP, EXTRA STRENGTH, 24 IN | LF | 150
717748 | PIPE, PSS, D.I., CL 50, 8 IN | LF | 80
717750 | PIPE, PSS, D.I., CL 50, 10 IN | LF | 85
717752 | PIPE, PSS, D.I., CL 50, 12 IN | LF | 90
717778 | PIPE, PSS, D.I., CL 52, 8 IN | LF | 80
717780 | PIPE, PSS, D.I., CL 52, 10 IN | LF | 90
717782 | PIPE, PSS, D.I., CL 52, 12 IN | LF | 95
717784 | PIPE, PSS, D.I., CL 52, 14 IN | LF | 100
717786 | PIPE, PSS, D.I., CL 52, 16 IN | LF | 120
717788 | PIPE, PSS, D.I., CL 52, 18 IN | LF | 150
717790 | PIPE, PS or PSS, PVC, D3034 SDR 35, 8 IN | LF | 55
717792 | PIPE, PS or PSS, PVC, D3034 SDR 35, 12 IN | LF | 65
717795 | PIPE, PS or PSS, PVC, D3034 SDR 35, 15 IN | LF | 75
717826 | TEE, VCP, 6 IN | EA | 500
717828 | TEE, VCP, 8 IN | EA | 700
717830 | TEE, VCP, 10 IN | EA | 900
717846 | TEE, D.I., 6 IN | EA | 800
717848 | TEE, D.I., 8 IN | EA | 1150
717850 | TEE, D.I., 10 IN | EA | 1300
717852 | TEE, D.I., 12 IN | EA | 1500
717866 | TEE, PVC, 6 IN | EA | 150
717868 | TEE, PVC, 8 IN | EA | 175
717870 | TEE, PVC, 10 IN | EA | 200
717892 | TEE, 12 IN, CUT-IN EXISTING CONC PIPE | EA | 1300
717896 | TEE, 16 IN, CUT-IN EXISTING CONC PIPE | EA | 1500
717898 | TEE, 18 IN, CUT-IN EXISTING CONC PIPE | EA | 2500
717899 | TEE, 24 IN, CUT-IN EXISTING CONC PIPE | EA | 3000
717902 | DAM, CLAY TRENCH | EA | 500
717985 | TEMPORARY SEWER BYPASS | LS
717990 | TELEVISION INSPECTION | LF | 4
719006 | SEWER CLEANOUT, 6 IN | EA | 700
719008 | SEWER CLEANOUT, 8 IN | EA | 800
720005 | ADJUST EXISTING MH, CB, OR VC | EA | 350
720010 | ADJUST EXISTING INLET | EA | 370
720015 | ADJUST EXISTING MON FRAME & COVER | EA | 360
720020 | ADJUST EXISTING VALVE BOX | EA | 340
720025 | ADJUST EXISTING MH, CB, OR VC W/RING EXT | EA | 400
720030 | ADJUST EXISTING INLET W/RING EXT | EA | 400
720045 | ADJUST EXISTING HANDHOLE | EA | 400
720047 | ADJUST EXISTING VALVE BOX W/RING EXT | EA | 400
720230 | UTILITY CASTING, TYPE 230 | EA | 500
720231 | UTILITY CASTING, TYPE 231 (RING EXTENSION) | EA | 500
720235 | UTILITY CASTING, TYPE 230L | EA | 600
720265 | UTILITY CASTING, TYPE 265, VANED GRATE | EA | 550
720300 | UTILITY CASTING, TYPE 361 | EA | 650
720310 | INSTALL CASTING, UTILITY FURNISHED | EA | 400
720320 | INSTALL GRATE/COVER, OWNER FURNISHED | EA | 250
802214 | PLANTING SOIL | CY | 42
802220 | MULCH, BARK | CY | 43
802230 | MULCH, DECOMPOSED ORGANIC | CY | 43
802600 | SODDING | SF | 4.5
802610 | SEEDED LAWN INSTALLATION | SF | 0.75
804005 | CURB, CEM CONC | LF | 26
804010 | CURB, CEM CONC, MOUNTABLE | LF | 24
804015 | CURB AND GUTTER, CEM CONC | LF | 33
806002 | EXTRUDED CURB, HMA (CL 1/2 IN) | LF | 14
806004 | EXTRUDED CURB, HMA (CL 1 IN) | LF | 14
806010 | EXTRUDED CURB, CEM CONC | LF | 12
806020 | EXTRUDED CURB, CEM CONC, HES (24 HR) | LF | 16
807005 | CURB, TRAFFIC, PRECAST | LF | 20
807010 | CURB, TRAFFIC, BLOCK | LF | 15
808001 | LANE MARKER TYPE 1 | EA | 4
808002 | LANE MARKER TYPE 2 | EA | 5
808005 | PLASTIC TRAFFIC BUTTON | EA | 5
813020 | MONUMENT FRAME AND COVER | EA | 500
813030 | RELOCATE OR RESET MON AND MON FRAME AND COVER | EA | 500
813120 | RESET MONUMENT FRAME AND COVER | EA | 500
813125 | RELOCATE MONUMENT FRAME AND COVER | EA | 500
814005 | SIDEWALK, CEM CONC | SY | 50
814010 | SIDEWALK, THICKENED EDGE | LF | 8
814020 | CURB RAMP (422A) | EA | 1450
814022 | CURB RAMP (422B) | EA | 1600
814023 | CURB RAMP (422C) | EA | 1600
814024 | CURB RAMP, NON-STANDARD | SY | 350
814025 | DETECTABLE WARNING PLATE RETROFIT | SF | 100
814030 | DETECTABLE WARNING PLATE | SY | 70
814234 | EXPOSED AGGREGATE CEM CONC TREATMENT, SIDEWALK | SY | 60
814240 | SIX INCH SIDEWALK, CEM CONC | SY | 60
814250 | PATTERNED CEM CONC TREATMENT, SIDEWALK, (PATTERNED) | SY | 70
814251 | PATTERNED CEM CONC TREATMENT, SIDEWALK, (RUNNING BOND USED BRICK) | SY | 70
818020 | STAIRWAY, CEM CONC, SPECIAL | SF | 80
818030 | GUTTER, CEM CONC, TYPE 440 | LF | 200
818040 | STAIRWAY, CEM CONC, TYPE 440 | LF | 200
818140 | HANDRAIL, TYPE 440 | LF | 100
818142 | HANDRAIL, TYPE 442 | LF | 100
818143 | HANDRAIL, TYPE 443 | LF | 110
818241 | STEPS, CEM CONC | SF | 80
819006 | DRIVEWAY, CEM CONC, 6 IN | SY | 65
819008 | DRIVEWAY, CEM CONC, 8 IN | SY | 80
819018 | DRIVEWAY, CEM CONC, HES (24 HR), 8 IN | SY | 85
819020 | DRIVEWAY, CEM CONC, HES (72 HR), 8 IN | SY | 80
821006 | INSTALL SIGN, TRAFFIC, OWNER FURNISHED | EA | 100
821011 | INSTALL SIGN, STREET DESIGNATION, OWNER FURNISHED | EA | 400
821015 | INSTALL SIGN, STREET NAME, OWNER FURNISHED, POST MT | EA | 150
821025 | SIGN, BUS ZONE, OWNER FURNISHED | EA | 150
821030 | POST, TRAFFIC SIGN | EA | 170
821035 | POST, PARKING METER | EA | 150
821040 | POST, STREET NAME | EA | 150
821045 | POST, BUS ZONE | EA | 140
821050 | RELOCATE SIGN, TRAFFIC | EA | 150
821055 | RELOCATE SIGN, STREET NAME | EA | 150
821060 | RELOCATE SIGN, BUS ZONE | EA | 150
822004 | PAVEMENT MARKING, PAINT, 4 IN STRIPE | LF | 1.5
822006 | PAVEMENT MARKING, PAINT, 6 IN STRIPE | LF | 2
822008 | PAVEMENT MARKING, PAINT, 8 IN STRIPE | LF | 2.5
822010 | PAVEMENT MARKING, PAINT, LEGEND/SYMBOL | EA | 50
822018 | PAVEMENT MARKING, THERMO, 8 IN STRIPE | LF | 5
822020 | PAVEMENT MARKING, THERMO, LEGEND/SYMBOL | EA | 85
822025 | PAVEMENT MARKING, PRESSURE SENSITIVE TAPE | LF | 0.5
822028 | SHARROW, INSTALL OWNER FURNISHED | EA | 30
831306 | DETECTOR LOOP, 6 FT DIA. | EA | 900