## High Perf. Portfolio Framework
This is the how-to guide for real estate professionals, detailing the critical concepts and actions necessary to create - and maintain - energy excellence in your portfolio.
High Performance Portfolio Framework | Building Owner | Real Estate/ Property Manager | Facilities/ Building Manager | Company | Tenant
Download the Framework. |  | X

## Briefings & Templates
Briefings & Templates | Building Owner | Real Estate/ Property Manager | Facilities/ Building Manager | Company | Tenant
Assess
· Energy Management Checklist |  | X | X | X
· Carbon, Energy, and Your Building | X | X
· Green Building Rating Systems | X | X
Commit
· Sample Energy Management Policy(Template) |  |  |  | X
· Energy Efficiency: Myths & Misperceptions | X | X
Plan
· Organizational Approaches to Energy Management |  |  |  | X
· Scoping |  |  | X
· Sustainability & The Acquisitions Process | X
Implement
· Conducting a Night Walk of your Building |  | X | X
· Making the Most of Property Management Agreements |  | X
· Managing Engineering Performance |  | X
· Engineering Metrics Checklist |  | X
· Common Roadblocks to Earning the Energy Star |  | X
· Motivating & Rewarding Success |  |  |  | X
· Purchasing Guidelines |  | X
· Energy Tracking & Accounting | X | X | X | X | X
· Energy Transparency and Reporting | X | X | X | X | X
· Leasing & Energy: Allocations | X |  |  |  | X
· 10 Goals for Green Leasing | X | X |  |  | X
· Building Tune-Ups | X | X | X
· Enhanced Operations and Maintenance | X | X | X
· Rethinking Simple Payback Period | X | X |  | X
· Integrated Design | X | X
· Hiring the Right Team - Integrated Design Services | X | X
· Sample RFP for Integrated Design Services (Template) | X | X
· Commissioning | X | X
Capitalize
· Marketing a High-Performance Building | X | X
· Energy Efficiency and Appraisals | X | X
· Energy Issues in Underwriting Properties | X | X

## Top 5 Common Opportunities
Topics | Building Owner | Real Estate/ Property Manager | Facilities/ Building Manager | Company | Tenant
Introduction | X | X | X
Four Key Practices | X | X | X
Developing a Building System Operations Map |  | X | X
Using Energy Use Index (EUI) and Benchmarking | X | X | X
Targeting the Envelope |  | X | X
Targeting HVAC Systems and Equipment |  | X | X
The Top Five Savings Opportunities | X | X | X
Envelope Integrity |  | X | X
Equipment Scheduling |  | X | X
Sensor Error |  | X | X
Simultaneous Heating and Cooling |  | X | X
Outside-Air Usage |  | X | X
HVAC Systems and Major Equipment |  | X | X
VAV with Reheat |  | X | X
Constant-Volume with Reheat |  | X | X
Dual-Duct |  | X | X
Multizone Fan |  | X | X
Central AC with Perimeter Heating |  | X | X

## O&M Best Practices
Select one of the equipment types below to learn more about its key components and best practices for its energy-efficient operation and maintenance.
O & M Best Practices | Building Owner | Real Estate/ Property Manager | Facilities/ Building Manager | Company | Tenant
Air Distribution Systems |  | X | X
Boilers |  | X | X
Chillers |  | X | X
Cooling Towers |  | X | X
Digital HVAC Controls |  | X | X
HVAC Water Distribution Systems |  | X | X
Motors |  | X | X
Sensors |  | X | X
Steam Distribution Systems |  | X | X
Terminal Units |  | X | X

## Building Night Walk Videos
Video Quick Links | Building Owner | Real Estate/ Property Manager | Facilities/ Building Manager | Company | Tenant
Sleuthing Out Energy Savings |  | X | X
Is Your Building Like Swiss Cheese? |  | X | X
Keeping Conditioned Air in Its Place |  | X | X
Simple Fixes to Big Problems |  | X | X
An Elevator Shaft Shouldn't be a Wind Tunnel |  | X | X
Hidden Energy Wasters |  | X | X

## Symptom Diagnosis Tool
To use the Symptom-Diagnosis Tool: 1) Select the appropriate equipment type below to display a list of possible symptoms. 2) Select a candidate symptom from that list. 3) Read specific advice on what might be causing that symptom in that equipment. | Building Owner | Real Estate/ Property Manager | Facilities/ Building Manager | Company | Tenant
EQUIPMENT TYPE: Air Distribution
Select a symptom in this list to view advice on how to determine its cause:
All restrooms have excessive odors | X | X | X | X | X
Boiler starts and stops frequently |  | X | X
Building does not go into warm-up as expected |  | X | X
Building goes into warm-up during occupied hours |  | X | X
Building takes longer than expected to warm up | X | X | X | X | X
Chiller operates when outside air temperature is low |  | X | X
Equipment operates during unoccupied hours |  | X | X
Exterior doors are hard to open or don't close securely | X | X | X | X | X
Humidity is too high or too low | X | X | X | X | X
Mixed-air temperature is near outside-air temperature during heating mode |  | X | X
Perimeter heating is excessive |  | X | X
Position of modulating damper does not change for a long time |  | X | X
Program logic for optimal system start is not working, times do not vary |  | X | X
Return and/or exhaust fan does not shut off with supply fan |  | X | X
Simultaneously high hot deck temperature and low cold deck temperature |  | X | X
Space calls for cooling and VAV box damper is at minimum position |  | X | X
Space is too warm or cool | X | X | X | X | X
Space temperature does not set back or set up during unoccupied hours |  | X | X
Static pressure in duct stays significantly higher than setpoint |  | X | X
Static pressure in duct varies significantly during occupied hours |  | X | X
Supply-air temperature is constant at all hours, even with reset controls in place |  | X | X
Supply-air temperature is high during warm weather |  | X | X
VAV box reheat is active, damper is open to maximum position |  | X | X
VAV box reheat won't activate |  | X | X
VSD does not vary the discharge-air fan speed |  | X | X
VSD varies the fan speed erratically |  | X | X
EQUIPMENT TYPE: Boilers
Select a symptom in this list to view advice on how to determine its cause:
Boiler starts and stops frequently |  | X | X
Heat pump starts and stops frequently |  | X | X
Heating-water boiler operates when OSAT is above 60 degrees |  | X | X
Heating-water pump operates significantly more hours than boiler |  | X | X
Multiple boilers operate when load is low |  | X | X
Only one boiler is on when two are needed, load is not met |  | X | X
Pressure in the steam system cycles |  | X | X
Temperature of combustion exhaust is significantly higher than 300 degrees |  | X | X
EQUIPMENT TYPE: Chillers
Select a symptom in this list to view advice on how to determine its cause:
Chilled-water pump operates significantly more hours than chiller |  | X | X
Chilled-water supply stays at constant design temperature |  | X | X
Chiller operates when outside air temperature is low |  | X | X
Chiller starts and stops frequently |  | X | X
Multiple chillers operate when load is low |  | X | X
Only one chiller is on when two are needed, load is not met |  | X | X
EQUIPMENT TYPE: Cooling Towers
Select a symptom in this list to view advice on how to determine its cause:
Chiller starts and stops frequently |  | X | X
Condenser-water pump operates significantly more hours than chiller |  | X | X
Cooling-tower fans are always on high, even during cool weather |  | X | X
Cooling-tower fans are always on low, even in hot weather |  | X | X
Heat pump starts and stops frequently |  | X | X
Temperature of condenser water is significantly higher than setpoint, even during cool weather |  | X | X
EQUIPMENT TYPE: Digital HVAC Controls
Select a symptom in this list to view advice on how to determine its cause:
Adjacent VAV boxes or terminal units are in cooling mode and heating mode |  | X | X
AHU preheat/heating coil and cooling coil are both on simultaneously |  | X | X
AHU supply-air temperature is low during cold weather |  | X | X
All restrooms have excessive odors |  | X | X
Boiler starts and stops frequently |  | X | X
Building does not go into warm-up as expected |  | X | X
Building goes into warm-up during occupied hours |  | X | X
Building takes longer than expected to warm up |  | X | X
Chilled-water pump does not slow down sufficiently as system load decreases |  | X | X
Chilled-water pump operates significantly more hours than chiller |  | X | X
Chilled-water supply stays at constant design temperature |  | X | X
Chiller operates when outside air temperature is low |  | X | X
Chiller starts and stops frequently |  | X | X
Condenser-water pump operates significantly more hours than chiller |  | X | X
Condensing pressure or temperature are significantly higher than setpoint for air-cooled unit |  | X | X
Cooling-tower fans are always on high, even during cool weather |  | X | X
Cooling-tower fans are always on low, even in hot weather |  | X | X
Dimmable lights do not dim under daylight conditions |  | X | X
Equipment operates during unoccupied hours |  | X | X
Exterior doors are hard to open or don't close securely |  | X | X
Fan-powered VAV box runs continuously during unoccupied hours |  | X | X
Heat exchanger on the steam system does not transfer enough heat. |  | X | X
Heating-water boiler operates when OSAT is above 60 degrees |  | X | X
Heating-water pump does not slow down sufficiently as heating load decreases |  | X | X
Heating-water pump operates significantly more hours than boiler |  | X | X
Humidity is too high or too low |  | X | X
Large amounts of steam are escaping the flash-tank vent |  | X | X
Mixed-air temperature is near outside-air temperature during cooling mode |  | X | X
Mixed-air temperature is near outside-air temperature during heating mode |  | X | X
Multiple boilers operate when load is low |  | X | X
Multiple chillers operate when load is low |  | X | X
One pump is on when two are needed, load is not met |  | X | X
Only one boiler is on when two are needed, load is not met |  | X | X
Only one chiller is on when two are needed, load is not met |  | X | X
Outside-air dampers do not close to minimum setting during hot or cold weather |  | X | X
Parking-garage fans do not shut off or slow down as expected |  | X | X
Perimeter heating is excessive |  | X | X
Position of modulating damper does not change for a long time |  | X | X
Pressure in the steam system cycles |  | X | X
Program logic for optimal system start is not working, times do not vary |  | X | X
Return and/or exhaust fan does not shut off with supply fan |  | X | X
Simultaneously high hot deck temperature and low cold deck temperature |  | X | X
Space calls for cooling and VAV box damper is at minimum position |  | X | X
Space is too warm or cool | X | X | X | X | X
Space temperature does not set back or set up during unoccupied hours |  | X | X
Static pressure in duct stays significantly higher than setpoint |  | X | X
Static pressure in duct varies significantly during occupied hours |  | X | X
Steam pipe is hammering |  | X | X
Supply-air temperature is constant at all hours, even with reset controls in place |  | X | X
Supply-air temperature is high during warm weather |  | X | X
Temperature of combustion exhaust is significantly higher than 300 degrees |  | X | X
Temperature of condensate return is high |  | X | X
Temperature of condenser water is significantly higher than setpoint, even during cool weather |  | X | X
Two pumps are on when only one is needed, temperature setpoint is not met |  | X | X
Two pumps are on when only one needed, pressure setpoint is not met |  | X | X
VAV box reheat is active, damper is open to maximum position |  | X | X
VAV box reheat won't activate |  | X | X
VSD does not vary the discharge-air fan speed |  | X | X
VSD varies the fan speed erratically |  | X | X
Water level in sump is high |  | X | X
EQUIPMENT TYPE: Motors
Select a symptom in this list to view advice on how to determine its cause:
Condensing pressure or temperature are significantly higher than setpoint for air-cooled unit |  | X | X
Cooling-tower fans are always on high, even during cool weather |  | X | X
Cooling-tower fans are always on low, even in hot weather |  | X | X
EQUIPMENT TYPE: Sensors
Select a symptom in this list to view advice on how to determine its cause:
AHU preheat/heating coil and cooling coil are both on simultaneously |  | X | X
AHU supply-air temperature is low during cold weather |  | X | X
All restrooms have excessive odors |  | X | X
Boiler starts and stops frequently |  | X | X
Building does not go into warm-up as expected | X | X | X | X | X
Building goes into warm-up during occupied hours | X | X | X | X | X
Building takes longer than expected to warm up | X | X | X | X | X
Chilled-water pump does not slow down sufficiently as system load decreases |  | X | X
Chilled-water supply stays at constant design temperature |  | X | X
Chiller operates when outside air temperature is low |  | X | X
Chiller starts and stops frequently |  | X | X
Condenser-water pump operates significantly more hours than chiller |  | X | X
Condensing pressure or temperature are significantly higher than setpoint for air-cooled unit |  | X | X
Cooling-tower fans are always on high, even during cool weather |  | X | X
Dimmable lights do not dim under daylight conditions |  | X | X
Equipment operates during unoccupied hours |  | X | X
Exterior doors are hard to open or don't close securely | X | X | X | X | X
Fan-powered VAV box runs continuously during unoccupied hours |  | X | X
Heat pump starts and stops frequently |  | X | X
Heating-water boiler operates when OSAT is above 60 degrees |  | X | X
Heating-water pump does not slow down sufficiently as heating load decreases |  | X | X
Humidity is too high or too low |  | X | X
Large amounts of steam are escaping the flash-tank vent |  | X | X
Lighting controls do not operating on schedule |  | X | X
Lights controlled by occupancy sensors do not shut off after long vacancy periods |  | X | X
Mixed-air temperature is near outside-air temperature during cooling mode |  | X | X
Mixed-air temperature is near outside-air temperature during heating mode |  | X | X
Multiple boilers operate when load is low |  | X | X
Multiple chillers operate when load is low |  | X | X
One pump is on when two are needed, load is not met |  | X | X
Only one boiler is on when two are needed, load is not met |  | X | X
Only one chiller is on when two are needed, load is not met |  | X | X
Outside-air dampers do not close to minimum setting during hot or cold weather |  | X | X
Parking-garage fans do not shut off or slow down as expected |  | X | X
Perimeter heating is excessive |  | X | X
Position of modulating damper does not change for a long time |  | X | X
Pressure in the steam system cycles |  | X | X
Pressure-relief valve on the hydronic system pops |  | X | X
Return and/or exhaust fan does not shut off with supply fan |  | X | X
Simultaneously high hot deck temperature and low cold deck temperature |  | X | X
Space calls for cooling and VAV box damper is at minimum position |  | X | X
Space is too warm or cool | X | X | X | X | X
Static pressure in duct stays significantly higher than setpoint |  | X | X
Static pressure in duct varies significantly during occupied hours |  | X | X
Supply-air temperature is high during warm weather |  | X | X
Temperature of combustion exhaust is significantly higher than 300 degrees |  | X | X
Temperature of condenser water is significantly higher than setpoint, even during cool weather |  | X | X
Two pumps are on when only one is needed, temperature setpoint is not met |  | X | X
Two pumps are on when only one needed, pressure setpoint is not met |  | X | X
VAV box reheat is active, damper is open to maximum position |  | X | X
VAV box reheat won't activate |  | X | X
VSD does not vary the discharge-air fan speed |  | X | X
VSD varies the fan speed erratically |  | X | X
Water level in sump is high |  | X | X
EQUIPMENT TYPE: Steam Distribution
Select a symptom in this list to view advice on how to determine its cause:
Heat exchanger on the steam system does not transfer enough heat. |  | X | X
Large amounts of steam are escaping the flash-tank vent |  | X | X
Pressure in the steam system cycles |  | X | X
Steam pipe is hammering |  | X | X
Temperature of combustion exhaust is significantly higher than 300 degrees |  | X | X
Temperature of condensate return is high |  | X | X
EQUIPMENT TYPE: Terminal Units
Select a symptom in this list to view advice on how to determine its cause:
Adjacent VAV boxes or terminal units are in cooling mode and heating mode |  | X | X
AHU supply-air temperature is low during cold weather |  | X | X
Chilled-water supply stays at constant design temperature |  | X | X
Fan-powered VAV box runs continuously during unoccupied hours |  | X | X
Heat pump starts and stops frequently |  | X | X
Heating-water boiler operates when OSAT is above 60 degrees |  | X | X
Multiple boilers operate when load is low |  | X | X
Multiple chillers operate when load is low |  | X | X
Perimeter heating is excessive |  | X | X
Space calls for cooling and VAV box damper is at minimum position |  | X | X
Space is too warm or cool | X | X | X | X | X
Supply-air temperature is high during warm weather |  | X | X
VAV box reheat is active, damper is open to maximum position |  | X | X
VAV box reheat won't activate |  | X | X
EQUIPMENT TYPE: Water Distribution
Select a symptom in this list to view advice on how to determine its cause:
AHU preheat/heating coil and cooling coil are both on simultaneously |  | X | X
Boiler starts and stops frequently |  | X | X
Chilled-water pump does not slow down sufficiently as system load decreases |  | X | X
Chilled-water pump operates significantly more hours than chiller |  | X | X
Chilled-water supply stays at constant design temperature |  | X | X
Chiller operates when outside air temperature is low |  | X | X
Chiller starts and stops frequently |  | X | X
Condenser-water pump operates significantly more hours than chiller |  | X | X
Cooling-tower fans are always on high, even during cool weather |  | X | X
Heat exchanger on the steam system does not transfer enough heat. |  | X | X
Heat pump starts and stops frequently |  | X | X
Heating-water boiler operates when OSAT is above 60 degrees |  | X | X
Heating-water pump does not slow down sufficiently as heating load decreases |  | X | X
Heating-water pump operates significantly more hours than boiler |  | X | X
Humidity is too high or too low | X | X | X | X | X
Multiple boilers operate when load is low |  | X | X
Multiple chillers operate when load is low |  | X | X
One pump is on when two are needed, load is not met |  | X | X
Only one boiler is on when two are needed, load is not met |  | X | X
Only one chiller is on when two are needed, load is not met |  | X | X
Perimeter heating is excessive |  | X | X
Pressure-relief valve on the hydronic system pops |  | X | X
Space is too warm or cool | X | X | X | X | X
Supply-air temperature is high during warm weather |  | X | X
Temperature of combustion exhaust is significantly higher than 300 degrees |  | X | X
Temperature of condenser water is significantly higher than setpoint, even during cool weather |  | X | X
Two pumps are on when only one is needed, temperature setpoint is not met |  | X | X
Two pumps are on when only one needed, pressure setpoint is not met |  | X | X
Water level in sump is high |  | X | X